## Data
# | Date-Time (CEST) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 14:31 | 8.1698 | 27.87 | -86.3308
2 | 2025-09-16 14:32 | 8.1562 | 28.05 | -85.5964
3 | 2025-09-16 14:33 | 8.159 | 27.83 | -85.7057
4 | 2025-09-16 14:34 | 8.1664 | 27.6 | -86.0808
5 | 2025-09-16 14:35 | 8.1777 | 27.31 | -86.6589
6 | 2025-09-16 14:36 | 8.19 | 26.96 | -87.2839
7 | 2025-09-16 14:37 | 8.2024 | 26.62 | -87.9089
8 | 2025-09-16 14:38 | 8.2139 | 26.28 | -88.4871
9 | 2025-09-16 14:39 | 8.2247 | 25.94 | -89.0183
10 | 2025-09-16 14:40 | 8.2355 | 25.6 | -89.5496
11 | 2025-09-16 14:41 | 8.2469 | 25.23 | -90.1121
12 | 2025-09-16 14:42 | 8.2555 | 24.9 | -90.5184
13 | 2025-09-16 14:43 | 8.2647 | 24.56 | -90.9559
14 | 2025-09-16 14:44 | 8.273 | 24.22 | -91.3465
15 | 2025-09-16 14:45 | 8.282 | 23.88 | -91.7684
16 | 2025-09-16 14:46 | 8.2901 | 23.54 | -92.1434
17 | 2025-09-16 14:47 | 8.2982 | 23.21 | -92.5184
18 | 2025-09-16 14:48 | 8.3058 | 22.87 | -92.8622
19 | 2025-09-16 14:49 | 8.3721 | 22.92 | -96.5967

## Events
# | Date-Time (CEST) | Host Connected | End of File | Started | Button Up | Button Down
1 | 2025-09-16 14:31 |  |  | Logged
2 | 2025-09-16 14:49 |  |  |  | Logged | Logged
3 | 2025-09-16 14:49 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068745
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/16 14:30:49 CEST
Deployment Info
|  | Name | 22068745
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 3
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/16 14:30:49 CEST
|  | Logging Interval | 0 hour 1 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 19
|  | Max | 28.05
|  | Min | 22.87
|  | Avg | 25.55
|  | Std Dev | 1.79
|  | First Sample Time | 2025/09/16 14:30:51 CEST
|  | Last Sample Time | 2025/09/16 14:48:51 CEST
Series : Millivolts , mv
Series Statistics
|  | Samples | 19
|  | Max | -85.60
|  | Min | -96.60
|  | Avg | -89.55
|  | Std Dev | 2.96
|  | First Sample Time | 2025/09/16 14:30:51 CEST
|  | Last Sample Time | 2025/09/16 14:48:51 CEST
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 19
|  | Max | 8.37
|  | Min | 8.16
|  | Avg | 8.24
|  | Std Dev | .06
|  | First Sample Time | 2025/09/16 14:30:51 CEST
|  | Last Sample Time | 2025/09/16 14:48:51 CEST
Calibrations
Calibration#1
|  | Slope | 95.57 %
|  | Offset | -19.547 mV
|  | Calibration Point {0} | -19.547472 26.11 pH @7
|  | Calibration Point {0} | -189.25578 26.08 pH @9.99
|  | Date | 2025/09/15 18:12:25 CEST