## Data
# | Date-Time (UTC Standard Time) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 07:00 | 4.4516 | 24.56 | 143.8325
2 | 2025-09-16 07:05 | 4.4473 | 24.58 | 144.0981
3 | 2025-09-16 07:10 | 4.4496 | 24.6 | 143.9731
4 | 2025-09-16 07:15 | 7.9478 | 25.5 | -63.8769
5 | 2025-09-16 07:20 | 8.0122 | 25.87 | -67.7833
6 | 2025-09-16 07:25 | 7.6352 | 25.94 | -45.3139
7 | 2025-09-16 07:30 | 8.0689 | 25.99 | -71.1897
8 | 2025-09-16 07:35 | 8.0488 | 26.04 | -70.0021
9 | 2025-09-16 07:40 | 7.9749 | 26.04 | -65.5958
10 | 2025-09-16 07:45 | 8.0064 | 26.04 | -67.4708
11 | 2025-09-16 07:50 | 8.0052 | 26.06 | -67.4083
12 | 2025-09-16 07:55 | 8.0314 | 26.06 | -68.9709
13 | 2025-09-16 08:00 | 7.9814 | 26.06 | -65.9864
14 | 2025-09-16 08:05 | 8.0209 | 26.08 | -68.3458
15 | 2025-09-16 08:10 | 8.0041 | 26.08 | -67.3458
16 | 2025-09-16 08:15 | 8.0308 | 26.08 | -68.9396
17 | 2025-09-16 08:20 | 7.995 | 26.08 | -66.7989
18 | 2025-09-16 08:25 | 8.0555 | 26.08 | -70.4084
19 | 2025-09-16 08:30 | 8.0515 | 26.08 | -70.174
20 | 2025-09-16 08:35 | 8.0086 | 26.08 | -67.6114
21 | 2025-09-16 08:40 | 8.0099 | 26.08 | -67.6896
22 | 2025-09-16 08:45 | 7.9986 | 26.08 | -67.0177
23 | 2025-09-16 08:50 | 7.9955 | 26.08 | -66.8302
24 | 2025-09-16 08:55 | 7.9324 | 26.08 | -63.0644
25 | 2025-09-16 09:00 | 7.8962 | 26.08 | -60.9081
26 | 2025-09-16 09:05 | 7.8643 | 26.08 | -59.0018
27 | 2025-09-16 09:10 | 7.7507 | 26.06 | -52.2203
28 | 2025-09-16 09:15 | 7.8963 | 26.04 | -60.9081
29 | 2025-09-16 09:20 | 7.8994 | 26.06 | -61.0956
30 | 2025-09-16 09:25 | 7.898 | 25.94 | -60.9862
31 | 2025-09-16 09:30 | 7.9007 | 25.82 | -61.1269
32 | 2025-09-16 09:35 | 7.894 | 25.77 | -60.7206
33 | 2025-09-16 09:40 | 7.8934 | 25.7 | -60.6737
34 | 2025-09-16 09:45 | 7.8942 | 25.7 | -60.7206
35 | 2025-09-16 09:50 | 7.8903 | 25.7 | -60.4862
36 | 2025-09-16 09:55 | 7.8906 | 25.7 | -60.5018
37 | 2025-09-16 10:00 | 7.8947 | 25.7 | -60.7519
38 | 2025-09-16 10:05 | 7.891 | 25.72 | -60.5331
39 | 2025-09-16 10:10 | 7.8913 | 25.72 | -60.5487
40 | 2025-09-16 10:15 | 7.8949 | 25.74 | -60.7675
41 | 2025-09-16 10:20 | 7.8906 | 25.77 | -60.5175
42 | 2025-09-16 10:25 | 7.8903 | 25.79 | -60.5018
43 | 2025-09-16 10:30 | 7.8939 | 25.82 | -60.7206
44 | 2025-09-16 10:35 | 7.8893 | 25.84 | -60.455
45 | 2025-09-16 10:40 | 7.8889 | 25.89 | -60.4393
46 | 2025-09-16 10:45 | 7.8925 | 25.91 | -60.6581
47 | 2025-09-16 10:50 | 7.8877 | 25.94 | -60.3768
48 | 2025-09-16 10:55 | 7.8873 | 25.99 | -60.3612
49 | 2025-09-16 11:00 | 7.8907 | 26.01 | -60.5643
50 | 2025-09-16 11:05 | 7.8859 | 26.04 | -60.2831
51 | 2025-09-16 11:10 | 7.8852 | 26.08 | -60.2518
52 | 2025-09-16 11:15 | 7.8888 | 26.11 | -60.4706
53 | 2025-09-16 11:20 | 7.8837 | 26.16 | -60.1737
54 | 2025-09-16 11:25 | 7.8831 | 26.18 | -60.1425
55 | 2025-09-16 11:30 | 7.8866 | 26.23 | -60.3612
56 | 2025-09-16 11:35 | 7.8816 | 26.26 | -60.0643
57 | 2025-09-16 11:40 | 7.8812 | 26.3 | -60.0487
58 | 2025-09-16 11:45 | 7.884 | 26.33 | -60.2206
59 | 2025-09-16 11:50 | 7.8789 | 26.35 | -59.9237
60 | 2025-09-16 11:55 | 7.8762 | 26.4 | -59.7674
61 | 2025-09-16 12:00 | 7.8803 | 26.43 | -60.0175
62 | 2025-09-16 12:05 | 7.875 | 26.43 | -59.7049
63 | 2025-09-16 12:10 | 7.8742 | 26.45 | -59.6581
64 | 2025-09-16 12:15 | 7.8777 | 26.43 | -59.8612
65 | 2025-09-16 12:20 | 7.8737 | 26.43 | -59.6268

## Events
# | Date-Time (UTC Standard Time) | Host Connected | End of File | Started | Button Up | Button Down
1 | 2025-09-15 16:40 |  |  |  | Logged | Logged
2 | 2025-09-15 16:40 | Logged
3 | 2025-09-16 07:00 |  |  | Logged
4 | 2025-09-16 12:21 |  |  |  |  | Logged
5 | 2025-09-16 12:21 |  |  |  | Logged
6 | 2025-09-16 12:21 |  |  |  |  | Logged
7 | 2025-09-16 12:21 |  |  |  | Logged
8 | 2025-09-16 12:22 | Logged
9 | 2025-09-16 12:23 |  |  |  |  | Logged
10 | 2025-09-16 12:23 |  |  |  | Logged
11 | 2025-09-16 12:23 |  |  |  |  | Logged
12 | 2025-09-16 12:23 |  |  |  | Logged
13 | 2025-09-16 12:23 |  |  |  | Logged | Logged
14 | 2025-09-16 12:23 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068748
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/15 16:36:08 UTC Standard Time
Deployment Info
|  | Name | 22068748
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 2
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/15 16:36:08 UTC Standard Time
|  | Logging Interval | 0 hour 5 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2025/09/16 07:00:00 UTC Standard Time
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 65
|  | Max | 26.45
|  | Min | 24.56
|  | Avg | 25.96
|  | Std Dev | .37
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 12:20:00 UTC Standard Time
Series : Millivolts , mv
Series Statistics
|  | Samples | 65
|  | Max | 144.10
|  | Min | -71.19
|  | Avg | -52.82
|  | Std Dev | 43.84
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 12:20:00 UTC Standard Time
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 65
|  | Max | 8.07
|  | Min | 4.45
|  | Avg | 7.76
|  | Std Dev | .74
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 12:20:00 UTC Standard Time
Calibrations
Calibration#1
|  | Slope | 100.47 %
|  | Offset | -7.437 mV
|  | Calibration Point {0} | -7.437727 26.01 pH @7
|  | Calibration Point {0} | -185.78693 25.99 pH @9.99
|  | Date | 2025/09/15 16:16:43 UTC Standard Time