## Data
# | Date-Time (UTC Standard Time) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 07:00 | 3.5467 | 24.63 | 166.1613
2 | 2025-09-16 07:05 | 3.5472 | 24.65 | 166.1457
3 | 2025-09-16 07:10 | 5.2632 | 25.16 | 72.2991
4 | 2025-09-16 07:15 | 7.7738 | 25.84 | -65.5801
5 | 2025-09-16 07:20 | 7.8018 | 25.89 | -67.127
6 | 2025-09-16 07:25 | 7.2758 | 25.94 | -38.1887
7 | 2025-09-16 07:30 | 6.2709 | 25.99 | 17.1099
8 | 2025-09-16 07:35 | 6.2337 | 26.01 | 19.1568
9 | 2025-09-16 07:40 | 6.2306 | 26.01 | 19.3287
10 | 2025-09-16 07:45 | 6.2042 | 26.01 | 20.7819
11 | 2025-09-16 07:50 | 6.2079 | 26.01 | 20.5788
12 | 2025-09-16 07:55 | 6.2022 | 26.01 | 20.8913
13 | 2025-09-16 08:00 | 6.1727 | 26.01 | 22.5163
14 | 2025-09-16 08:05 | 6.0877 | 25.99 | 27.1883
15 | 2025-09-16 08:10 | 6.0914 | 25.99 | 26.9852
16 | 2025-09-16 08:15 | 6.1184 | 25.99 | 25.5008
17 | 2025-09-16 08:20 | 6.1008 | 25.99 | 26.4696
18 | 2025-09-16 08:25 | 6.1084 | 25.96 | 26.0477
19 | 2025-09-16 08:30 | 6.0865 | 25.96 | 27.2508
20 | 2025-09-16 08:35 | 6.0919 | 25.96 | 26.9539
21 | 2025-09-16 08:40 | 6.1018 | 25.96 | 26.4071
22 | 2025-09-16 08:45 | 6.0865 | 25.96 | 27.2508
23 | 2025-09-16 08:50 | 6.0808 | 25.96 | 27.5633
24 | 2025-09-16 08:55 | 6.0958 | 25.94 | 26.7352
25 | 2025-09-16 09:00 | 6.0904 | 25.94 | 27.0321
26 | 2025-09-16 09:05 | 6.0816 | 25.94 | 27.5165
27 | 2025-09-16 09:10 | 6.0825 | 25.94 | 27.4696
28 | 2025-09-16 09:15 | 6.0969 | 25.94 | 26.6727
29 | 2025-09-16 09:20 | 6.1088 | 25.91 | 26.0164
30 | 2025-09-16 09:25 | 6.1176 | 25.91 | 25.532
31 | 2025-09-16 09:30 | 6.1803 | 25.91 | 22.0788
32 | 2025-09-16 09:35 | 7.5087 | 26.08 | -51.0172
33 | 2025-09-16 09:40 | 7.4873 | 25.94 | -49.8296
34 | 2025-09-16 09:45 | 7.4577 | 25.79 | -48.189
35 | 2025-09-16 09:50 | 7.424 | 25.7 | -46.3295
36 | 2025-09-16 09:55 | 7.3911 | 25.65 | -44.517
37 | 2025-09-16 10:00 | 7.3759 | 25.6 | -43.6732
38 | 2025-09-16 10:05 | 7.3739 | 25.6 | -43.5638
39 | 2025-09-16 10:10 | 7.3895 | 25.57 | -44.4232
40 | 2025-09-16 10:15 | 7.3776 | 25.57 | -43.767
41 | 2025-09-16 10:20 | 7.3628 | 25.6 | -42.9544
42 | 2025-09-16 10:25 | 7.3628 | 25.6 | -42.9544
43 | 2025-09-16 10:30 | 7.3642 | 25.62 | -43.0326
44 | 2025-09-16 10:35 | 7.359 | 25.65 | -42.7513
45 | 2025-09-16 10:40 | 7.3567 | 25.67 | -42.6263
46 | 2025-09-16 10:45 | 7.3507 | 25.7 | -42.2982
47 | 2025-09-16 10:50 | 7.3419 | 25.72 | -41.8138
48 | 2025-09-16 10:55 | 7.3327 | 25.77 | -41.3138
49 | 2025-09-16 11:00 | 7.3222 | 25.79 | -40.7356
50 | 2025-09-16 11:05 | 7.3142 | 25.82 | -40.2981
51 | 2025-09-16 11:10 | 7.3097 | 25.84 | -40.0481
52 | 2025-09-16 11:15 | 7.3068 | 25.89 | -39.8918
53 | 2025-09-16 11:20 | 7.3016 | 25.91 | -39.6106
54 | 2025-09-16 11:25 | 7.2985 | 25.96 | -39.4387
55 | 2025-09-16 11:30 | 7.2927 | 25.99 | -39.1262
56 | 2025-09-16 11:35 | 7.2904 | 26.04 | -39.0012
57 | 2025-09-16 11:40 | 7.3083 | 26.06 | -39.9856
58 | 2025-09-16 11:45 | 7.3082 | 26.11 | -39.9856
59 | 2025-09-16 11:50 | 7.3213 | 26.13 | -40.7044
60 | 2025-09-16 11:55 | 7.3167 | 26.18 | -40.4544
61 | 2025-09-16 12:00 | 7.3113 | 26.21 | -40.1575
62 | 2025-09-16 12:05 | 7.3067 | 26.23 | -39.9075
63 | 2025-09-16 12:10 | 7.3027 | 26.26 | -39.6887
64 | 2025-09-16 12:15 | 7.297 | 26.26 | -39.3762
65 | 2025-09-16 12:20 | 7.295 | 26.26 | -39.2668
66 | 2025-09-16 12:25 | 7.2956 | 26.26 | -39.2981
67 | 2025-09-16 12:30 | 7.2945 | 26.23 | -39.2356
68 | 2025-09-16 12:35 | 7.2951 | 26.21 | -39.2668
69 | 2025-09-16 12:40 | 7.2965 | 26.18 | -39.345
70 | 2025-09-16 12:45 | 7.2948 | 26.16 | -39.2512
71 | 2025-09-16 12:50 | 7.2943 | 26.13 | -39.2199
72 | 2025-09-16 12:55 | 7.2955 | 26.11 | -39.2824
73 | 2025-09-16 13:00 | 7.2949 | 26.06 | -39.2512
74 | 2025-09-16 13:05 | 7.2924 | 26.01 | -39.1106
75 | 2025-09-16 13:10 | 7.2922 | 25.99 | -39.0949
76 | 2025-09-16 13:15 | 7.2914 | 25.94 | -39.0481
77 | 2025-09-16 13:20 | 7.2906 | 25.91 | -39.0012
78 | 2025-09-16 13:25 | 7.2895 | 25.87 | -38.9387
79 | 2025-09-16 13:30 | 7.2844 | 25.84 | -38.6574

## Events
# | Date-Time (UTC Standard Time) | Host Connected | End of File | Button Up | Button Down | pH Calibration Values | pH Calibration Buffers
1 | 2025-09-15 16:22 |  |  |  |  | Logged | Logged Logged
2 | 2025-09-16 13:33 |  |  |  | Logged
3 | 2025-09-16 13:33 |  |  | Logged
4 | 2025-09-16 13:33 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068746
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/15 16:22:29 UTC Standard Time
Deployment Info
|  | Name | 22068746
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 15
|  | Never Stop (Overwrites Old Data) Enabled | Yes
|  | Configure Date | 2025/09/15 16:22:29 UTC Standard Time
|  | Logging Interval | 0 hour 5 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2025/09/16 07:00:00 UTC Standard Time
|  | Stop Logging | Never Stop (Overwrites Old Data)
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 79
|  | Max | 26.26
|  | Min | 24.63
|  | Avg | 25.90
|  | Std Dev | .29
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 13:30:00 UTC Standard Time
Series : Millivolts , mv
Series Statistics
|  | Samples | 79
|  | Max | 166.16
|  | Min | -67.13
|  | Avg | -14.30
|  | Std Dev | 44.17
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 13:30:00 UTC Standard Time
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 79
|  | Max | 7.80
|  | Min | 3.55
|  | Avg | 6.84
|  | Std Dev | .80
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 13:30:00 UTC Standard Time
Calibrations
Calibration#1
|  | Slope | 92.7 %
|  | Offset | -23.016 mV
|  | Calibration Point {0} | 141.5512 25.96 pH @4.01
|  | Calibration Point {0} | -23.016327 26.04 pH @7
|  | Date | 2025/09/15 15:45:56 UTC Standard Time