## Data
# | Date-Time (UTC Standard Time) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 07:00 | 4.1519 | 24.8 | 146.817
2 | 2025-09-16 07:05 | 4.1575 | 24.8 | 146.4888
3 | 2025-09-16 07:10 | 4.1536 | 24.9 | 146.7701
4 | 2025-09-16 07:15 | 7.8178 | 25.84 | -65.6895
5 | 2025-09-16 07:20 | 7.8589 | 25.94 | -68.0958
6 | 2025-09-16 07:25 | 7.5693 | 26.01 | -51.2672
7 | 2025-09-16 07:30 | 7.234 | 26.06 | -31.7666
8 | 2025-09-16 07:35 | 7.2479 | 26.08 | -32.5791
9 | 2025-09-16 07:40 | 7.1448 | 26.11 | -26.5789
10 | 2025-09-16 07:45 | 7.2036 | 26.11 | -30.0009
11 | 2025-09-16 07:50 | 7.2474 | 26.11 | -32.5479
12 | 2025-09-16 07:55 | 7.2049 | 26.13 | -30.079
13 | 2025-09-16 08:00 | 7.2073 | 26.13 | -30.2197
14 | 2025-09-16 08:05 | 7.2621 | 26.13 | -33.4073
15 | 2025-09-16 08:10 | 7.2396 | 26.13 | -32.0947
16 | 2025-09-16 08:15 | 7.202 | 26.13 | -29.9072
17 | 2025-09-16 08:20 | 7.2366 | 26.13 | -31.9228
18 | 2025-09-16 08:25 | 7.2057 | 26.13 | -30.1259
19 | 2025-09-16 08:30 | 7.1082 | 26.13 | -24.4539
20 | 2025-09-16 08:35 | 7.1434 | 26.13 | -26.5008
21 | 2025-09-16 08:40 | 7.0623 | 26.13 | -21.7819
22 | 2025-09-16 08:45 | 7.0102 | 26.13 | -18.7506
23 | 2025-09-16 08:50 | 7.0384 | 26.13 | -20.3912
24 | 2025-09-16 08:55 | 7.0795 | 26.13 | -22.7819
25 | 2025-09-16 09:00 | 6.7736 | 26.13 | -4.9845
26 | 2025-09-16 09:05 | 6.6879 | 26.13 | 0
27 | 2025-09-16 09:10 | 6.3768 | 26.06 | 18.0943
28 | 2025-09-16 09:15 | 7.8094 | 26.16 | -65.252
29 | 2025-09-16 09:20 | 7.7894 | 26.21 | -64.0957
30 | 2025-09-16 09:25 | 7.7837 | 26.21 | -63.7676
31 | 2025-09-16 09:30 | 7.7489 | 26.18 | -61.7363
32 | 2025-09-16 09:35 | 7.7471 | 26.06 | -61.6113
33 | 2025-09-16 09:40 | 7.7469 | 26.01 | -61.5956
34 | 2025-09-16 09:45 | 7.741 | 26.01 | -61.2519
35 | 2025-09-16 09:50 | 7.739 | 26.06 | -61.1425
36 | 2025-09-16 09:55 | 7.7304 | 26.08 | -60.6425
37 | 2025-09-16 10:00 | 7.7263 | 26.11 | -60.4081
38 | 2025-09-16 10:05 | 7.7263 | 26.11 | -60.4081
39 | 2025-09-16 10:10 | 7.7195 | 26.13 | -60.0175
40 | 2025-09-16 10:15 | 7.7168 | 26.13 | -59.8612
41 | 2025-09-16 10:20 | 7.7175 | 26.16 | -59.9081
42 | 2025-09-16 10:25 | 7.7127 | 26.18 | -59.6268
43 | 2025-09-16 10:30 | 7.7084 | 26.18 | -59.3768
44 | 2025-09-16 10:35 | 7.7083 | 26.21 | -59.3768
45 | 2025-09-16 10:40 | 7.7029 | 26.21 | -59.0643
46 | 2025-09-16 10:45 | 7.6999 | 26.23 | -58.8924
47 | 2025-09-16 10:50 | 7.7005 | 26.23 | -58.9237
48 | 2025-09-16 10:55 | 7.6937 | 26.26 | -58.533
49 | 2025-09-16 11:00 | 7.6893 | 26.28 | -58.283
50 | 2025-09-16 11:05 | 7.6885 | 26.3 | -58.2362
51 | 2025-09-16 11:10 | 7.6812 | 26.33 | -57.8143
52 | 2025-09-16 11:15 | 7.6771 | 26.33 | -57.5799
53 | 2025-09-16 11:20 | 7.6763 | 26.35 | -57.533
54 | 2025-09-16 11:25 | 7.6701 | 26.38 | -57.1736
55 | 2025-09-16 11:30 | 7.6679 | 26.4 | -57.0486
56 | 2025-09-16 11:35 | 7.6697 | 26.43 | -57.158
57 | 2025-09-16 11:40 | 7.668 | 26.45 | -57.0642
58 | 2025-09-16 11:45 | 7.6658 | 26.48 | -56.9392
59 | 2025-09-16 11:50 | 7.6891 | 26.5 | -58.2987
60 | 2025-09-16 11:55 | 7.677 | 26.52 | -57.5955
61 | 2025-09-16 12:00 | 7.6724 | 26.55 | -57.3299
62 | 2025-09-16 12:05 | 7.6754 | 26.52 | -57.5018
63 | 2025-09-16 12:10 | 7.674 | 26.52 | -57.4236
64 | 2025-09-16 12:15 | 7.676 | 26.5 | -57.533
65 | 2025-09-16 12:20 | 7.6778 | 26.5 | -57.6424
66 | 2025-09-16 12:25 | 7.6722 | 26.48 | -57.3142
67 | 2025-09-16 12:30 | 7.6683 | 26.45 | -57.0799
68 | 2025-09-16 12:35 | 7.6694 | 26.43 | -57.1424
69 | 2025-09-16 12:40 | 7.6655 | 26.4 | -56.908
70 | 2025-09-16 12:45 | 7.6639 | 26.38 | -56.8142
71 | 2025-09-16 12:50 | 7.6656 | 26.35 | -56.908
72 | 2025-09-16 12:55 | 7.661 | 26.33 | -56.6424
73 | 2025-09-16 13:00 | 7.6617 | 26.28 | -56.6736
74 | 2025-09-16 13:05 | 7.6645 | 26.23 | -56.8299
75 | 2025-09-16 13:10 | 7.6597 | 26.21 | -56.5486
76 | 2025-09-16 13:15 | 7.659 | 26.16 | -56.5017
77 | 2025-09-16 13:20 | 7.6607 | 26.11 | -56.5955
78 | 2025-09-16 13:25 | 7.6576 | 26.06 | -56.408
79 | 2025-09-16 13:30 | 7.6574 | 26.04 | -56.3923
80 | 2025-09-16 13:35 | 7.6553 | 25.99 | -56.2673
81 | 2025-09-16 13:40 | 7.6517 | 25.94 | -56.0486
82 | 2025-09-16 13:45 | 7.6523 | 25.89 | -56.0798
83 | 2025-09-16 13:50 | 7.6559 | 25.87 | -56.283
84 | 2025-09-16 13:55 | 7.6519 | 25.84 | -56.0486
85 | 2025-09-16 14:00 | 7.6482 | 25.82 | -55.8298
86 | 2025-09-16 14:05 | 7.6507 | 25.79 | -55.9705
87 | 2025-09-16 14:10 | 7.6454 | 25.74 | -55.6579
88 | 2025-09-16 14:15 | 7.643 | 25.74 | -55.5173
89 | 2025-09-16 14:20 | 7.6435 | 25.74 | -55.5486
90 | 2025-09-16 14:25 | 7.6406 | 25.74 | -55.3767
91 | 2025-09-16 14:30 | 7.6409 | 25.72 | -55.3923
92 | 2025-09-16 14:35 | 7.6436 | 25.7 | -55.5486
93 | 2025-09-16 14:40 | 7.6391 | 25.67 | -55.2829
94 | 2025-09-16 14:45 | 7.637 | 25.65 | -55.1579
95 | 2025-09-16 14:50 | 7.6389 | 25.62 | -55.2673
96 | 2025-09-16 14:55 | 7.6336 | 25.62 | -54.9548
97 | 2025-09-16 15:00 | 7.6312 | 25.6 | -54.8142
98 | 2025-09-16 15:05 | 7.6325 | 25.6 | -54.8923
99 | 2025-09-16 15:10 | 7.6259 | 25.57 | -54.5017

## Events
# | Date-Time (UTC Standard Time) | Host Connected | End of File | Started | Button Up | Button Down
1 | 2025-09-16 07:00 |  |  | Logged
2 | 2025-09-16 15:09 |  |  |  | Logged | Logged
3 | 2025-09-16 15:10 | Logged
4 | 2025-09-16 15:11 |  |  |  |  | Logged
5 | 2025-09-16 15:11 |  |  |  | Logged
6 | 2025-09-16 15:11 |  |  |  | Logged | Logged
7 | 2025-09-16 15:12 | Logged
8 | 2025-09-16 15:14 |  |  |  |  | Logged
9 | 2025-09-16 15:14 |  |  |  | Logged
10 | 2025-09-16 15:14 |  |  |  |  | Logged
11 | 2025-09-16 15:14 |  |  |  | Logged
12 | 2025-09-16 15:14 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068750
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/15 16:29:38 UTC Standard Time
Deployment Info
|  | Name | 22068750
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 2
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/15 16:29:38 UTC Standard Time
|  | Logging Interval | 0 hour 5 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2025/09/16 07:00:00 UTC Standard Time
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 99
|  | Max | 26.55
|  | Min | 24.80
|  | Avg | 26.08
|  | Std Dev | .33
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:10:00 UTC Standard Time
Series : Millivolts , mv
Series Statistics
|  | Samples | 99
|  | Max | 146.82
|  | Min | -68.10
|  | Avg | -44.41
|  | Std Dev | 37.31
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:10:00 UTC Standard Time
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 99
|  | Max | 7.86
|  | Min | 4.15
|  | Avg | 7.45
|  | Std Dev | .64
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:10:00 UTC Standard Time
Calibrations
Calibration#1
|  | Slope | 97.96000000000001 %
|  | Offset | -18.156 mV
|  | Calibration Point {0} | -18.156805 26.06 pH @7
|  | Calibration Point {0} | -192.11523 26.11 pH @9.99
|  | Date | 2025/09/15 16:06:44 UTC Standard Time