## Data
# | Date-Time (UTC Standard Time) | pH , pH | Temperature , °C | Millivolts , mv
101 | 2025-09-16 15:20 | 8.2299 | 24.46 | -89.3152
102 | 2025-09-16 15:25 | 8.2914 | 21.49 | -92.1278
103 | 2025-09-16 15:30 | 8.3476 | 19.22 | -94.7529
104 | 2025-09-16 15:35 | 8.3879 | 17.87 | -96.6748

## Events
# | Date-Time (UTC Standard Time) | Host Connected | End of File | Started | Button Up | Button Down
1 | 2025-09-16 07:00 |  |  | Logged
2 | 2025-09-16 15:09 |  |  |  | Logged | Logged
3 | 2025-09-16 15:10 | Logged
4 | 2025-09-16 15:11 |  |  |  |  | Logged
5 | 2025-09-16 15:11 |  |  |  | Logged
6 | 2025-09-16 15:11 |  |  |  | Logged | Logged
7 | 2025-09-16 15:12 | Logged
8 | 2025-09-16 15:14 |  |  |  |  | Logged
9 | 2025-09-16 15:14 |  |  |  | Logged
10 | 2025-09-16 15:14 |  |  |  |  | Logged
11 | 2025-09-16 15:14 |  |  |  | Logged
12 | 2025-09-16 15:14 | Logged
13 | 2025-09-16 15:37 |  |  |  | Logged | Logged
14 | 2025-09-16 15:37 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068750
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/15 16:29:38 UTC Standard Time
Deployment Info
|  | Name | 22068750
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 2
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/15 16:29:38 UTC Standard Time
|  | Logging Interval | 0 hour 5 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2025/09/16 07:00:00 UTC Standard Time
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 104
|  | Max | 26.55
|  | Min | 17.87
|  | Avg | 25.88
|  | Std Dev | 1.18
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:35:00 UTC Standard Time
Series : Millivolts , mv
Series Statistics
|  | Samples | 104
|  | Max | 146.82
|  | Min | -96.67
|  | Avg | -46.35
|  | Std Dev | 37.60
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:35:00 UTC Standard Time
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 104
|  | Max | 8.39
|  | Min | 4.15
|  | Avg | 7.49
|  | Std Dev | .65
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:35:00 UTC Standard Time
Calibrations
Calibration#1
|  | Slope | 97.96000000000001 %
|  | Offset | -18.156 mV
|  | Calibration Point {0} | -18.156805 26.06 pH @7
|  | Calibration Point {0} | -192.11523 26.11 pH @9.99
|  | Date | 2025/09/15 16:06:44 UTC Standard Time