## Data
# | Date-Time (CEST) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-17 07:00 | 7.808 | 24.32 | -55.3611
2 | 2025-09-17 07:01 | 7.8033 | 24.32 | -55.0798
3 | 2025-09-17 07:02 | 7.803 | 24.32 | -55.0642
4 | 2025-09-17 07:03 | 7.8033 | 24.32 | -55.0798
5 | 2025-09-17 07:04 | 7.8033 | 24.32 | -55.0798
6 | 2025-09-17 07:05 | 7.8033 | 24.32 | -55.0798
7 | 2025-09-17 07:06 | 7.8033 | 24.32 | -55.0798
8 | 2025-09-17 07:07 | 7.803 | 24.32 | -55.0642
9 | 2025-09-17 07:08 | 7.803 | 24.32 | -55.0642
10 | 2025-09-17 07:09 | 7.803 | 24.32 | -55.0642
11 | 2025-09-17 07:10 | 7.803 | 24.32 | -55.0642
12 | 2025-09-17 07:11 | 7.803 | 24.32 | -55.0642
13 | 2025-09-17 07:12 | 7.803 | 24.32 | -55.0642
14 | 2025-09-17 07:13 | 7.8028 | 24.29 | -55.0486
15 | 2025-09-17 07:14 | 7.8028 | 24.29 | -55.0486
16 | 2025-09-17 07:15 | 7.8076 | 24.29 | -55.3298
17 | 2025-09-17 07:16 | 7.8028 | 24.29 | -55.0486
18 | 2025-09-17 07:17 | 7.8026 | 24.29 | -55.0329
19 | 2025-09-17 07:18 | 7.8026 | 24.29 | -55.0329
20 | 2025-09-17 07:19 | 7.8026 | 24.29 | -55.0329
21 | 2025-09-17 07:20 | 7.8026 | 24.29 | -55.0329
22 | 2025-09-17 07:21 | 7.8026 | 24.29 | -55.0329
23 | 2025-09-17 07:22 | 7.8026 | 24.29 | -55.0329
24 | 2025-09-17 07:23 | 7.8026 | 24.29 | -55.0329
25 | 2025-09-17 07:24 | 7.8023 | 24.29 | -55.0173
26 | 2025-09-17 07:25 | 7.8023 | 24.29 | -55.0173
27 | 2025-09-17 07:26 | 7.8023 | 24.29 | -55.0173
28 | 2025-09-17 07:27 | 7.8023 | 24.29 | -55.0173
29 | 2025-09-17 07:28 | 7.8023 | 24.27 | -55.0173
30 | 2025-09-17 07:29 | 7.8023 | 24.27 | -55.0173
31 | 2025-09-17 07:30 | 7.8068 | 24.27 | -55.2829
32 | 2025-09-17 07:31 | 7.8021 | 24.27 | -55.0017
33 | 2025-09-17 07:32 | 7.8021 | 24.27 | -55.0017
34 | 2025-09-17 07:33 | 7.8021 | 24.27 | -55.0017
35 | 2025-09-17 07:34 | 7.8018 | 24.27 | -54.9861
36 | 2025-09-17 07:35 | 7.8018 | 24.27 | -54.9861
37 | 2025-09-17 07:36 | 7.8016 | 24.27 | -54.9704
38 | 2025-09-17 07:37 | 7.8018 | 24.27 | -54.9861
39 | 2025-09-17 07:38 | 7.8016 | 24.27 | -54.9704
40 | 2025-09-17 07:39 | 7.8016 | 24.27 | -54.9704
41 | 2025-09-17 07:40 | 7.8016 | 24.27 | -54.9704
42 | 2025-09-17 07:41 | 7.8013 | 24.27 | -54.9548
43 | 2025-09-17 07:42 | 7.8016 | 24.27 | -54.9704
44 | 2025-09-17 07:43 | 7.8013 | 24.27 | -54.9548
45 | 2025-09-17 07:44 | 7.8013 | 24.27 | -54.9548
46 | 2025-09-17 07:45 | 7.8056 | 24.24 | -55.2048
47 | 2025-09-17 07:46 | 7.8014 | 24.24 | -54.9548
48 | 2025-09-17 07:47 | 7.8011 | 24.24 | -54.9392
49 | 2025-09-17 07:48 | 7.8011 | 24.24 | -54.9392
50 | 2025-09-17 07:49 | 7.8011 | 24.24 | -54.9392
51 | 2025-09-17 07:50 | 7.8011 | 24.24 | -54.9392
52 | 2025-09-17 07:51 | 7.8008 | 24.24 | -54.9236
53 | 2025-09-17 07:52 | 7.8008 | 24.24 | -54.9236
54 | 2025-09-17 07:53 | 7.8008 | 24.24 | -54.9236
55 | 2025-09-17 07:54 | 7.8008 | 24.24 | -54.9236
56 | 2025-09-17 07:55 | 7.8006 | 24.24 | -54.9079
57 | 2025-09-17 07:56 | 7.8006 | 24.24 | -54.9079
58 | 2025-09-17 07:57 | 7.8006 | 24.24 | -54.9079
59 | 2025-09-17 07:58 | 7.8003 | 24.24 | -54.8923
60 | 2025-09-17 07:59 | 7.8003 | 24.24 | -54.8923
61 | 2025-09-17 08:00 | 7.8045 | 24.24 | -55.1423
62 | 2025-09-17 08:01 | 7.8003 | 24.24 | -54.8923
63 | 2025-09-17 08:02 | 7.8001 | 24.24 | -54.8767
64 | 2025-09-17 08:03 | 7.7998 | 24.22 | -54.861
65 | 2025-09-17 08:04 | 7.7998 | 24.22 | -54.861
66 | 2025-09-17 08:05 | 7.7998 | 24.22 | -54.861
67 | 2025-09-17 08:06 | 7.7996 | 24.22 | -54.8454
68 | 2025-09-17 08:07 | 7.7996 | 24.22 | -54.8454
69 | 2025-09-17 08:08 | 7.7993 | 24.22 | -54.8298
70 | 2025-09-17 08:09 | 7.7993 | 24.22 | -54.8298
71 | 2025-09-17 08:10 | 7.7993 | 24.22 | -54.8298
72 | 2025-09-17 08:11 | 7.7993 | 24.22 | -54.8298
73 | 2025-09-17 08:12 | 7.7991 | 24.22 | -54.8142
74 | 2025-09-17 08:13 | 7.7993 | 24.22 | -54.8298
75 | 2025-09-17 08:14 | 7.8003 | 24.24 | -54.8923
76 | 2025-09-17 08:15 | 7.8056 | 24.22 | -55.2048
77 | 2025-09-17 08:16 | 7.8014 | 24.22 | -54.9548
78 | 2025-09-17 08:17 | 7.8012 | 24.22 | -54.9392
79 | 2025-09-17 08:18 | 7.8012 | 24.22 | -54.9392
80 | 2025-09-17 08:19 | 7.8009 | 24.22 | -54.9236
81 | 2025-09-17 08:20 | 7.8006 | 24.22 | -54.9079
82 | 2025-09-17 08:21 | 7.8007 | 24.19 | -54.9079
83 | 2025-09-17 08:22 | 7.8005 | 24.19 | -54.8923
84 | 2025-09-17 08:23 | 7.8005 | 24.19 | -54.8923
85 | 2025-09-17 08:24 | 7.8007 | 24.19 | -54.9079
86 | 2025-09-17 08:25 | 7.8005 | 24.19 | -54.8923
87 | 2025-09-17 08:26 | 7.8005 | 24.19 | -54.8923
88 | 2025-09-17 08:27 | 7.8002 | 24.19 | -54.8767
89 | 2025-09-17 08:28 | 7.8005 | 24.19 | -54.8923
90 | 2025-09-17 08:29 | 7.8005 | 24.19 | -54.8923
91 | 2025-09-17 08:30 | 7.8031 | 24.19 | -55.0486
92 | 2025-09-17 08:31 | 7.8005 | 24.19 | -54.8923
93 | 2025-09-17 08:32 | 7.8002 | 24.17 | -54.8767
94 | 2025-09-17 08:33 | 7.8002 | 24.17 | -54.8767
95 | 2025-09-17 08:34 | 7.8002 | 24.17 | -54.8767
96 | 2025-09-17 08:35 | 7.8005 | 24.17 | -54.8923
97 | 2025-09-17 08:36 | 7.8005 | 24.17 | -54.8923
98 | 2025-09-17 08:37 | 7.8002 | 24.17 | -54.8767
99 | 2025-09-17 08:38 | 7.8002 | 24.17 | -54.8767
100 | 2025-09-17 08:39 | 7.8002 | 24.17 | -54.8767
101 | 2025-09-17 08:40 | 7.8003 | 24.15 | -54.8767
102 | 2025-09-17 08:41 | 7.8014 | 24.15 | -54.9392
103 | 2025-09-17 08:42 | 7.8021 | 24.17 | -54.9861
104 | 2025-09-17 08:43 | 7.8019 | 24.15 | -54.9704
105 | 2025-09-17 08:44 | 7.8019 | 24.15 | -54.9704
106 | 2025-09-17 08:45 | 7.8058 | 24.15 | -55.2048
107 | 2025-09-17 08:46 | 7.8014 | 24.15 | -54.9392
108 | 2025-09-17 08:47 | 7.8014 | 24.15 | -54.9392
109 | 2025-09-17 08:48 | 7.8011 | 24.15 | -54.9236
110 | 2025-09-17 08:49 | 7.8011 | 24.15 | -54.9236
111 | 2025-09-17 08:50 | 7.8011 | 24.15 | -54.9236
112 | 2025-09-17 08:51 | 7.8011 | 24.15 | -54.9236
113 | 2025-09-17 08:52 | 7.8011 | 24.15 | -54.9236
114 | 2025-09-17 08:53 | 7.8008 | 24.15 | -54.9079
115 | 2025-09-17 08:54 | 7.8008 | 24.17 | -54.9079
116 | 2025-09-17 08:55 | 7.8005 | 24.17 | -54.8923
117 | 2025-09-17 08:56 | 7.8002 | 24.17 | -54.8767
118 | 2025-09-17 08:57 | 7.8002 | 24.17 | -54.8767
119 | 2025-09-17 08:58 | 7.8 | 24.17 | -54.861
120 | 2025-09-17 08:59 | 7.8 | 24.17 | -54.861
121 | 2025-09-17 09:00 | 7.8041 | 24.19 | -55.1111
122 | 2025-09-17 09:01 | 7.7997 | 24.19 | -54.8454
123 | 2025-09-17 09:02 | 7.7994 | 24.19 | -54.8298
124 | 2025-09-17 09:03 | 7.7991 | 24.19 | -54.8142
125 | 2025-09-17 09:04 | 7.7991 | 24.19 | -54.8142
126 | 2025-09-17 09:05 | 7.7988 | 24.22 | -54.7985
127 | 2025-09-17 09:06 | 7.7988 | 24.22 | -54.7985
128 | 2025-09-17 09:07 | 7.7985 | 24.22 | -54.7829
129 | 2025-09-17 09:08 | 7.7985 | 24.22 | -54.7829
130 | 2025-09-17 09:09 | 7.7983 | 24.22 | -54.7673
131 | 2025-09-17 09:10 | 7.7982 | 24.24 | -54.7673
132 | 2025-09-17 09:11 | 7.7979 | 24.24 | -54.7517
133 | 2025-09-17 09:12 | 7.7993 | 24.32 | -54.8454
134 | 2025-09-17 09:13 | 7.7987 | 24.36 | -54.8142
135 | 2025-09-17 09:14 | 7.7994 | 24.39 | -54.861
136 | 2025-09-17 09:15 | 7.8034 | 24.46 | -55.1111
137 | 2025-09-17 09:16 | 7.8003 | 24.53 | -54.9392
138 | 2025-09-17 09:17 | 7.7999 | 24.6 | -54.9236
139 | 2025-09-17 09:18 | 7.7986 | 24.68 | -54.861
140 | 2025-09-17 09:19 | 7.7979 | 24.75 | -54.8298
141 | 2025-09-17 09:20 | 7.7972 | 24.82 | -54.7985
142 | 2025-09-17 09:21 | 7.7972 | 24.9 | -54.8142
143 | 2025-09-17 09:22 | 7.7967 | 24.99 | -54.7985
144 | 2025-09-17 09:23 | 7.2999 | 25.02 | -25.2664
145 | 2025-09-17 09:24 | 8.0537 | 25.53 | -70.1896
146 | 2025-09-17 09:25 | 8.06 | 25.7 | -70.5959
147 | 2025-09-17 09:26 | 8.0619 | 25.74 | -70.7209
148 | 2025-09-17 09:27 | 8.0621 | 25.77 | -70.7365
149 | 2025-09-17 09:28 | 8.0621 | 25.77 | -70.7365
150 | 2025-09-17 09:29 | 8.0615 | 25.79 | -70.7053
151 | 2025-09-17 09:30 | 8.065 | 25.82 | -70.924
152 | 2025-09-17 09:31 | 8.0608 | 25.84 | -70.674
153 | 2025-09-17 09:32 | 8.0605 | 25.84 | -70.6584
154 | 2025-09-17 09:33 | 8.0632 | 25.89 | -70.8303
155 | 2025-09-17 09:34 | 8.0647 | 25.91 | -70.924
156 | 2025-09-17 09:35 | 8.0642 | 25.91 | -70.8928
157 | 2025-09-17 09:36 | 8.0636 | 25.94 | -70.8615
158 | 2025-09-17 09:37 | 8.063 | 25.94 | -70.8303
159 | 2025-09-17 09:38 | 8.0624 | 25.96 | -70.799
160 | 2025-09-17 09:39 | 8.0622 | 25.96 | -70.7834
161 | 2025-09-17 09:40 | 8.0621 | 25.99 | -70.7834
162 | 2025-09-17 09:41 | 8.0618 | 25.99 | -70.7678
163 | 2025-09-17 09:42 | 8.0612 | 26.01 | -70.7365
164 | 2025-09-17 09:43 | 8.0607 | 26.01 | -70.7053
165 | 2025-09-17 09:44 | 8.0604 | 26.01 | -70.6897
166 | 2025-09-17 09:45 | 8.0641 | 26.01 | -70.9084
167 | 2025-09-17 09:46 | 8.0606 | 26.04 | -70.7053
168 | 2025-09-17 09:47 | 8.0603 | 26.04 | -70.6897
169 | 2025-09-17 09:48 | 8.0603 | 26.04 | -70.6897
170 | 2025-09-17 09:49 | 8.0601 | 26.04 | -70.674
171 | 2025-09-17 09:50 | 8.0601 | 26.04 | -70.674
172 | 2025-09-17 09:51 | 8.0602 | 26.06 | -70.6897
173 | 2025-09-17 09:52 | 8.0602 | 26.06 | -70.6897
174 | 2025-09-17 09:53 | 8.0602 | 26.06 | -70.6897
175 | 2025-09-17 09:54 | 8.065 | 26.06 | -70.9709
176 | 2025-09-17 09:55 | 8.065 | 26.06 | -70.9709
177 | 2025-09-17 09:56 | 8.0647 | 26.06 | -70.9553
178 | 2025-09-17 09:57 | 8.0644 | 26.06 | -70.9397
179 | 2025-09-17 09:58 | 8.0637 | 26.06 | -70.8928
180 | 2025-09-17 09:59 | 8.0634 | 26.06 | -70.8772
181 | 2025-09-17 10:00 | 8.0663 | 26.06 | -71.049
182 | 2025-09-17 10:01 | 8.0631 | 26.06 | -70.8615
183 | 2025-09-17 10:02 | 8.0631 | 26.08 | -70.8615
184 | 2025-09-17 10:03 | 8.0628 | 26.08 | -70.8459
185 | 2025-09-17 10:04 | 8.0628 | 26.08 | -70.8459
186 | 2025-09-17 10:05 | 8.0654 | 26.08 | -71.0022
187 | 2025-09-17 10:06 | 8.0654 | 26.08 | -71.0022
188 | 2025-09-17 10:07 | 8.0652 | 26.08 | -70.9865
189 | 2025-09-17 10:08 | 8.1427 | 26.01 | -75.5961
190 | 2025-09-17 10:09 | 8.1445 | 26.01 | -75.7054
191 | 2025-09-17 10:10 | 8.1438 | 25.99 | -75.6586
192 | 2025-09-17 10:11 | 8.1384 | 25.96 | -75.3304
193 | 2025-09-17 10:12 | 8.1232 | 25.96 | -74.4241
194 | 2025-09-17 10:13 | 8.1329 | 25.96 | -75.0023
195 | 2025-09-17 10:14 | 8.1338 | 25.94 | -75.0492
196 | 2025-09-17 10:15 | 8.1372 | 25.94 | -75.2523
197 | 2025-09-17 10:16 | 8.1344 | 25.91 | -75.0804
198 | 2025-09-17 10:17 | 8.1347 | 25.91 | -75.096
199 | 2025-09-17 10:18 | 8.1349 | 25.91 | -75.1117
200 | 2025-09-17 10:19 | 8.1361 | 25.89 | -75.1742
201 | 2025-09-17 10:20 | 8.1358 | 25.89 | -75.1585
202 | 2025-09-17 10:21 | 8.1353 | 25.89 | -75.1273
203 | 2025-09-17 10:22 | 8.135 | 25.89 | -75.1117
204 | 2025-09-17 10:23 | 8.1349 | 25.91 | -75.1117
205 | 2025-09-17 10:24 | 8.1347 | 25.91 | -75.096
206 | 2025-09-17 10:25 | 8.1344 | 25.91 | -75.0804
207 | 2025-09-17 10:26 | 8.1342 | 25.91 | -75.0648
208 | 2025-09-17 10:27 | 8.1342 | 25.91 | -75.0648
209 | 2025-09-17 10:28 | 8.1336 | 25.91 | -75.0335
210 | 2025-09-17 10:29 | 8.1349 | 25.91 | -75.1117
211 | 2025-09-17 10:30 | 8.1381 | 25.91 | -75.2992
212 | 2025-09-17 10:31 | 8.1342 | 25.91 | -75.0648
213 | 2025-09-17 10:32 | 8.1348 | 25.94 | -75.1117
214 | 2025-09-17 10:33 | 8.1356 | 25.94 | -75.1585
215 | 2025-09-17 10:34 | 8.1333 | 25.94 | -75.0179
216 | 2025-09-17 10:35 | 8.1298 | 25.96 | -74.8148
217 | 2025-09-17 10:36 | 8.1232 | 25.96 | -74.4241
218 | 2025-09-17 10:37 | 8.1222 | 25.96 | -74.3616
219 | 2025-09-17 10:38 | 8.1211 | 25.96 | -74.2991
220 | 2025-09-17 10:39 | 8.1201 | 25.96 | -74.2366
221 | 2025-09-17 10:40 | 8.1189 | 25.99 | -74.1741
222 | 2025-09-17 10:41 | 8.1173 | 25.99 | -74.0804
223 | 2025-09-17 10:42 | 8.115 | 25.99 | -73.9398
224 | 2025-09-17 10:43 | 8.1113 | 25.99 | -73.721
225 | 2025-09-17 10:44 | 8.1071 | 25.99 | -73.471
226 | 2025-09-17 10:45 | 8.105 | 25.99 | -73.346
227 | 2025-09-17 10:46 | 8.0963 | 26.01 | -72.8303
228 | 2025-09-17 10:47 | 8.0908 | 26.01 | -72.5022
229 | 2025-09-17 10:48 | 8.0866 | 26.01 | -72.2522
230 | 2025-09-17 10:49 | 8.0827 | 26.01 | -72.0178
231 | 2025-09-17 10:50 | 8.0788 | 26.01 | -71.7834
232 | 2025-09-17 10:51 | 8.0748 | 26.01 | -71.5491
233 | 2025-09-17 10:52 | 8.0709 | 26.01 | -71.3147
234 | 2025-09-17 10:53 | 8.0675 | 26.01 | -71.1115
235 | 2025-09-17 10:54 | 8.0645 | 26.04 | -70.9397
236 | 2025-09-17 10:55 | 8.0614 | 26.04 | -70.7522
237 | 2025-09-17 10:56 | 8.0587 | 26.04 | -70.5959
238 | 2025-09-17 10:57 | 8.0561 | 26.04 | -70.4396
239 | 2025-09-17 10:58 | 8.0538 | 26.04 | -70.299
240 | 2025-09-17 10:59 | 8.0509 | 26.04 | -70.1271
241 | 2025-09-17 11:00 | 8.0504 | 26.04 | -70.0959
242 | 2025-09-17 11:01 | 8.0449 | 26.04 | -69.7678
243 | 2025-09-17 11:02 | 8.0412 | 26.04 | -69.549
244 | 2025-09-17 11:03 | 8.0375 | 26.04 | -69.3302
245 | 2025-09-17 11:04 | 8.0333 | 26.04 | -69.0802
246 | 2025-09-17 11:05 | 8.0291 | 26.04 | -68.8302
247 | 2025-09-17 11:06 | 8.0255 | 26.04 | -68.6115
248 | 2025-09-17 11:07 | 8.0216 | 26.04 | -68.3771
249 | 2025-09-17 11:08 | 8.0179 | 26.04 | -68.1583
250 | 2025-09-17 11:09 | 8.0142 | 26.04 | -67.9396
251 | 2025-09-17 11:10 | 8.0103 | 26.04 | -67.7052
252 | 2025-09-17 11:11 | 8.0061 | 26.04 | -67.4552
253 | 2025-09-17 11:12 | 8.0008 | 26.06 | -67.1427
254 | 2025-09-17 11:13 | 7.9953 | 26.06 | -66.8145
255 | 2025-09-17 11:14 | 7.9908 | 26.06 | -66.5489
256 | 2025-09-17 11:15 | 7.9885 | 26.06 | -66.4083
257 | 2025-09-17 11:16 | 7.9816 | 26.08 | -66.002
258 | 2025-09-17 11:17 | 7.9793 | 26.08 | -65.8614
259 | 2025-09-17 11:18 | 7.9777 | 26.08 | -65.7676
260 | 2025-09-17 11:19 | 7.9757 | 26.11 | -65.6583
261 | 2025-09-17 11:20 | 7.9742 | 26.11 | -65.5645
262 | 2025-09-17 11:21 | 7.9725 | 26.13 | -65.4707
263 | 2025-09-17 11:22 | 7.9704 | 26.13 | -65.3457
264 | 2025-09-17 11:23 | 7.9699 | 26.13 | -65.3145
265 | 2025-09-17 11:24 | 7.9706 | 26.16 | -65.3614
266 | 2025-09-17 11:25 | 7.9701 | 26.16 | -65.3301
267 | 2025-09-17 11:26 | 7.969 | 26.16 | -65.2676
268 | 2025-09-17 11:27 | 7.969 | 26.18 | -65.2676
269 | 2025-09-17 11:28 | 7.9682 | 26.18 | -65.2207
270 | 2025-09-17 11:29 | 7.9674 | 26.18 | -65.1739
271 | 2025-09-17 11:30 | 7.9691 | 26.21 | -65.2832
272 | 2025-09-17 11:31 | 7.9657 | 26.21 | -65.0801
273 | 2025-09-17 11:32 | 7.9647 | 26.21 | -65.0176
274 | 2025-09-17 11:33 | 7.9638 | 26.23 | -64.9707
275 | 2025-09-17 11:34 | 7.9631 | 26.23 | -64.9239
276 | 2025-09-17 11:35 | 7.9624 | 26.26 | -64.8926
277 | 2025-09-17 11:36 | 7.9622 | 26.26 | -64.877
278 | 2025-09-17 11:37 | 7.9624 | 26.28 | -64.8926
279 | 2025-09-17 11:38 | 7.9629 | 26.28 | -64.9239
280 | 2025-09-17 11:39 | 7.9631 | 26.3 | -64.9395
281 | 2025-09-17 11:40 | 7.9644 | 26.3 | -65.0176
282 | 2025-09-17 11:41 | 7.9652 | 26.3 | -65.0645
283 | 2025-09-17 11:42 | 7.9656 | 26.33 | -65.0957
284 | 2025-09-17 11:43 | 7.9653 | 26.33 | -65.0801
285 | 2025-09-17 11:44 | 7.9653 | 26.33 | -65.0801
286 | 2025-09-17 11:45 | 7.9721 | 26.35 | -65.4864
287 | 2025-09-17 11:46 | 7.9771 | 26.35 | -65.7833
288 | 2025-09-17 11:47 | 7.7196 | 26.35 | -50.4078
289 | 2025-09-17 11:48 | 7.9495 | 26.45 | -64.1582
290 | 2025-09-17 11:49 | 7.508 | 26.43 | -37.7824
291 | 2025-09-17 11:50 | 7.9568 | 26.79 | -64.6582
292 | 2025-09-17 11:51 | 7.9569 | 26.84 | -64.6738
293 | 2025-09-17 11:52 | 7.9569 | 26.84 | -64.6738
294 | 2025-09-17 11:53 | 7.9567 | 26.82 | -64.6582
295 | 2025-09-17 11:54 | 7.9566 | 26.77 | -64.6426
296 | 2025-09-17 11:55 | 7.9565 | 26.72 | -64.627
297 | 2025-09-17 11:56 | 7.9562 | 26.67 | -64.5957
298 | 2025-09-17 11:57 | 7.9557 | 26.65 | -64.5645
299 | 2025-09-17 11:58 | 7.9554 | 26.65 | -64.5488
300 | 2025-09-17 11:59 | 7.9554 | 26.65 | -64.5488
301 | 2025-09-17 12:00 | 7.9583 | 26.65 | -64.7207
302 | 2025-09-17 12:01 | 7.9558 | 26.62 | -64.5645
303 | 2025-09-17 12:02 | 7.956 | 26.62 | -64.5801
304 | 2025-09-17 12:03 | 7.9563 | 26.62 | -64.5957
305 | 2025-09-17 12:04 | 7.9566 | 26.62 | -64.6113
306 | 2025-09-17 12:05 | 7.9569 | 26.6 | -64.627
307 | 2025-09-17 12:06 | 7.9568 | 26.62 | -64.627
308 | 2025-09-17 12:07 | 7.9581 | 26.62 | -64.7051
309 | 2025-09-17 12:08 | 7.9592 | 26.62 | -64.7676
310 | 2025-09-17 12:09 | 7.9589 | 26.62 | -64.752
311 | 2025-09-17 12:10 | 7.9587 | 26.62 | -64.7364
312 | 2025-09-17 12:11 | 7.9581 | 26.62 | -64.7051
313 | 2025-09-17 12:12 | 7.9581 | 26.62 | -64.7051
314 | 2025-09-17 12:13 | 7.9578 | 26.65 | -64.6895
315 | 2025-09-17 12:14 | 7.9577 | 26.67 | -64.6895
316 | 2025-09-17 12:15 | 7.9605 | 26.7 | -64.8614
317 | 2025-09-17 12:16 | 7.9576 | 26.72 | -64.6895
318 | 2025-09-17 12:17 | 7.9575 | 26.74 | -64.6895
319 | 2025-09-17 12:18 | 7.9574 | 26.77 | -64.6895
320 | 2025-09-17 12:19 | 7.9573 | 26.79 | -64.6895
321 | 2025-09-17 12:20 | 7.9572 | 26.82 | -64.6895
322 | 2025-09-17 12:21 | 7.9569 | 26.84 | -64.6738
323 | 2025-09-17 12:22 | 7.9569 | 26.84 | -64.6738
324 | 2025-09-17 12:23 | 7.9568 | 26.87 | -64.6738
325 | 2025-09-17 12:24 | 7.9568 | 26.89 | -64.6738
326 | 2025-09-17 12:25 | 7.9568 | 26.89 | -64.6738
327 | 2025-09-17 12:26 | 7.9569 | 26.92 | -64.6895
328 | 2025-09-17 12:27 | 7.9569 | 26.92 | -64.6895
329 | 2025-09-17 12:28 | 7.9569 | 26.92 | -64.6895
330 | 2025-09-17 12:29 | 7.9569 | 26.94 | -64.6895
331 | 2025-09-17 12:30 | 7.9603 | 26.94 | -64.8926
332 | 2025-09-17 12:31 | 7.9569 | 26.94 | -64.6895
333 | 2025-09-17 12:32 | 7.9569 | 26.94 | -64.6895
334 | 2025-09-17 12:33 | 7.9568 | 26.96 | -64.6895
335 | 2025-09-17 12:34 | 7.9568 | 26.96 | -64.6895
336 | 2025-09-17 12:35 | 7.9568 | 26.96 | -64.6895
337 | 2025-09-17 12:36 | 7.9565 | 26.96 | -64.6738
338 | 2025-09-17 12:37 | 7.9564 | 26.99 | -64.6738
339 | 2025-09-17 12:38 | 7.9564 | 26.99 | -64.6738
340 | 2025-09-17 12:39 | 7.9562 | 26.99 | -64.6582
341 | 2025-09-17 12:40 | 7.9562 | 26.99 | -64.6582
342 | 2025-09-17 12:41 | 7.9562 | 26.99 | -64.6582
343 | 2025-09-17 12:42 | 7.9559 | 26.99 | -64.6426
344 | 2025-09-17 12:43 | 7.9559 | 26.99 | -64.6426
345 | 2025-09-17 12:44 | 7.9559 | 27.01 | -64.6426
346 | 2025-09-17 12:45 | 7.9592 | 27.01 | -64.8457
347 | 2025-09-17 12:46 | 7.9556 | 27.01 | -64.627
348 | 2025-09-17 12:47 | 7.9556 | 27.01 | -64.627
349 | 2025-09-17 12:48 | 7.9559 | 27.01 | -64.6426
350 | 2025-09-17 12:49 | 7.9561 | 27.01 | -64.6582
351 | 2025-09-17 12:50 | 7.9564 | 27.01 | -64.6738
352 | 2025-09-17 12:51 | 7.9564 | 27.01 | -64.6738
353 | 2025-09-17 12:52 | 7.9565 | 27.04 | -64.6895
354 | 2025-09-17 12:53 | 7.9563 | 27.04 | -64.6738
355 | 2025-09-17 12:54 | 7.9563 | 27.04 | -64.6738
356 | 2025-09-17 12:55 | 7.9563 | 27.04 | -64.6738
357 | 2025-09-17 12:56 | 7.956 | 27.04 | -64.6582
358 | 2025-09-17 12:57 | 7.9558 | 27.04 | -64.6426
359 | 2025-09-17 12:58 | 7.9558 | 27.04 | -64.6426
360 | 2025-09-17 12:59 | 7.9555 | 27.04 | -64.627
361 | 2025-09-17 13:00 | 7.9586 | 27.04 | -64.8145
362 | 2025-09-17 13:01 | 7.955 | 27.04 | -64.5957
363 | 2025-09-17 13:02 | 7.9545 | 27.04 | -64.5645
364 | 2025-09-17 13:03 | 7.9542 | 27.04 | -64.5488
365 | 2025-09-17 13:04 | 7.9536 | 27.06 | -64.5176
366 | 2025-09-17 13:05 | 7.9533 | 27.06 | -64.502
367 | 2025-09-17 13:06 | 7.9533 | 27.06 | -64.502
368 | 2025-09-17 13:07 | 7.9533 | 27.06 | -64.502
369 | 2025-09-17 13:08 | 7.9533 | 27.06 | -64.502
370 | 2025-09-17 13:09 | 7.9533 | 27.06 | -64.502
371 | 2025-09-17 13:10 | 7.9533 | 27.06 | -64.502
372 | 2025-09-17 13:11 | 7.953 | 27.09 | -64.4863
373 | 2025-09-17 13:12 | 7.953 | 27.09 | -64.4863
374 | 2025-09-17 13:13 | 7.953 | 27.09 | -64.4863
375 | 2025-09-17 13:14 | 7.953 | 27.09 | -64.4863
376 | 2025-09-17 13:15 | 7.9566 | 27.09 | -64.7051
377 | 2025-09-17 13:16 | 7.953 | 27.09 | -64.4863
378 | 2025-09-17 13:17 | 7.9529 | 27.11 | -64.4863
379 | 2025-09-17 13:18 | 7.9529 | 27.11 | -64.4863
380 | 2025-09-17 13:19 | 7.9527 | 27.11 | -64.4707
381 | 2025-09-17 13:20 | 7.9527 | 27.11 | -64.4707
382 | 2025-09-17 13:21 | 7.9527 | 27.11 | -64.4707
383 | 2025-09-17 13:22 | 7.9524 | 27.11 | -64.4551
384 | 2025-09-17 13:23 | 7.9523 | 27.14 | -64.4551
385 | 2025-09-17 13:24 | 7.9523 | 27.14 | -64.4551
386 | 2025-09-17 13:25 | 7.9523 | 27.14 | -64.4551
387 | 2025-09-17 13:26 | 7.952 | 27.14 | -64.4395
388 | 2025-09-17 13:27 | 7.952 | 27.14 | -64.4395
389 | 2025-09-17 13:28 | 7.952 | 27.16 | -64.4395
390 | 2025-09-17 13:29 | 7.952 | 27.16 | -64.4395
391 | 2025-09-17 13:30 | 7.9554 | 27.16 | -64.6426
392 | 2025-09-17 13:31 | 7.9517 | 27.16 | -64.4238
393 | 2025-09-17 13:32 | 7.9516 | 27.19 | -64.4238
394 | 2025-09-17 13:33 | 7.9516 | 27.19 | -64.4238
395 | 2025-09-17 13:34 | 7.9516 | 27.19 | -64.4238
396 | 2025-09-17 13:35 | 7.9514 | 27.19 | -64.4082
397 | 2025-09-17 13:36 | 7.9514 | 27.19 | -64.4082
398 | 2025-09-17 13:37 | 7.9513 | 27.21 | -64.4082
399 | 2025-09-17 13:38 | 7.9513 | 27.21 | -64.4082
400 | 2025-09-17 13:39 | 7.951 | 27.21 | -64.3926
401 | 2025-09-17 13:40 | 7.951 | 27.21 | -64.3926
402 | 2025-09-17 13:41 | 7.951 | 27.23 | -64.3926
403 | 2025-09-17 13:42 | 7.951 | 27.23 | -64.3926
404 | 2025-09-17 13:43 | 7.9507 | 27.23 | -64.377
405 | 2025-09-17 13:44 | 7.9507 | 27.23 | -64.377
406 | 2025-09-17 13:45 | 7.9543 | 27.26 | -64.5957
407 | 2025-09-17 13:46 | 7.9504 | 27.26 | -64.3613
408 | 2025-09-17 13:47 | 7.9504 | 27.26 | -64.3613
409 | 2025-09-17 13:48 | 7.9504 | 27.26 | -64.3613
410 | 2025-09-17 13:49 | 7.9506 | 27.28 | -64.377
411 | 2025-09-17 13:50 | 7.9513 | 27.28 | -64.4238
412 | 2025-09-17 13:51 | 7.9516 | 27.28 | -64.4395
413 | 2025-09-17 13:52 | 7.9521 | 27.28 | -64.4707
414 | 2025-09-17 13:53 | 7.9526 | 27.28 | -64.502
415 | 2025-09-17 13:54 | 7.9528 | 27.31 | -64.5176
416 | 2025-09-17 13:55 | 7.9528 | 27.31 | -64.5176
417 | 2025-09-17 13:56 | 7.9534 | 27.28 | -64.5488
418 | 2025-09-17 13:57 | 7.9534 | 27.28 | -64.5488
419 | 2025-09-17 13:58 | 7.9537 | 27.28 | -64.5645
420 | 2025-09-17 13:59 | 7.9534 | 27.28 | -64.5488
421 | 2025-09-17 14:00 | 7.9566 | 27.28 | -64.7364
422 | 2025-09-17 14:01 | 7.952 | 27.31 | -64.4707
423 | 2025-09-17 14:02 | 7.9518 | 27.31 | -64.4551
424 | 2025-09-17 14:03 | 7.9531 | 27.31 | -64.5332
425 | 2025-09-17 14:04 | 7.9525 | 27.33 | -64.502
426 | 2025-09-17 14:05 | 7.952 | 27.33 | -64.4707
427 | 2025-09-17 14:06 | 7.9514 | 27.33 | -64.4395
428 | 2025-09-17 14:07 | 7.9508 | 27.36 | -64.4082
429 | 2025-09-17 14:08 | 7.9503 | 27.36 | -64.377
430 | 2025-09-17 14:09 | 7.9498 | 27.36 | -64.3457
431 | 2025-09-17 14:10 | 7.9498 | 27.36 | -64.3457
432 | 2025-09-17 14:11 | 7.9498 | 27.36 | -64.3457
433 | 2025-09-17 14:12 | 7.95 | 27.36 | -64.3613
434 | 2025-09-17 14:13 | 7.95 | 27.36 | -64.3613
435 | 2025-09-17 14:14 | 7.95 | 27.36 | -64.3613
436 | 2025-09-17 14:15 | 7.9534 | 27.36 | -64.5645
437 | 2025-09-17 14:16 | 7.95 | 27.36 | -64.3613
438 | 2025-09-17 14:17 | 7.95 | 27.36 | -64.3613
439 | 2025-09-17 14:18 | 7.9504 | 27.33 | -64.377
440 | 2025-09-17 14:19 | 7.9504 | 27.33 | -64.377
441 | 2025-09-17 14:20 | 7.9504 | 27.33 | -64.377
442 | 2025-09-17 14:21 | 7.9507 | 27.31 | -64.3926
443 | 2025-09-17 14:22 | 7.9507 | 27.31 | -64.3926
444 | 2025-09-17 14:23 | 7.9508 | 27.28 | -64.3926
445 | 2025-09-17 14:24 | 7.9511 | 27.28 | -64.4082
446 | 2025-09-17 14:25 | 7.9508 | 27.28 | -64.3926
447 | 2025-09-17 14:26 | 7.9511 | 27.26 | -64.4082
448 | 2025-09-17 14:27 | 7.9511 | 27.26 | -64.4082
449 | 2025-09-17 14:28 | 7.951 | 27.23 | -64.3926
450 | 2025-09-17 14:29 | 7.9518 | 27.21 | -64.4395
451 | 2025-09-17 14:30 | 7.9563 | 27.21 | -64.7051
452 | 2025-09-17 14:31 | 7.9567 | 27.16 | -64.7207
453 | 2025-09-17 14:32 | 7.9531 | 27.14 | -64.502
454 | 2025-09-17 14:33 | 7.9529 | 27.11 | -64.4863
455 | 2025-09-17 14:34 | 7.9524 | 27.11 | -64.4551
456 | 2025-09-17 14:35 | 7.9517 | 27.09 | -64.4082
457 | 2025-09-17 14:36 | 7.9513 | 27.06 | -64.377
458 | 2025-09-17 14:37 | 7.9508 | 27.04 | -64.3457
459 | 2025-09-17 14:38 | 7.9504 | 27.01 | -64.3145
460 | 2025-09-17 14:39 | 7.9502 | 26.99 | -64.2988
461 | 2025-09-17 14:40 | 7.95 | 26.96 | -64.2832
462 | 2025-09-17 14:41 | 7.9529 | 26.96 | -64.4551
463 | 2025-09-17 14:42 | 7.9537 | 27.04 | -64.5176
464 | 2025-09-17 14:43 | 7.9522 | 27.09 | -64.4395
465 | 2025-09-17 14:44 | 7.9245 | 27.11 | -62.7832
466 | 2025-09-17 14:45 | 7.9565 | 27.31 | -64.7364
467 | 2025-09-17 14:46 | 7.9476 | 27.65 | -64.2676
468 | 2025-09-17 14:47 | 7.9483 | 27.83 | -64.3457
469 | 2025-09-17 14:48 | 7.9138 | 27.87 | -62.2832

## Events
# | Date-Time (CEST) | Host Connected | End of File | Started | Stopped | Button Up | Button Down
1 | 2025-09-17 07:00 |  |  | Logged
2 | 2025-09-17 14:46 | [5 empty] | Logged
3 | 2025-09-17 14:46 |  |  |  |  | Logged
4 | 2025-09-17 14:47 | [5 empty] | Logged
5 | 2025-09-17 14:47 |  |  |  |  | Logged
6 | 2025-09-17 14:47 | Logged
7 | 2025-09-17 14:48 | [5 empty] | Logged
8 | 2025-09-17 14:48 |  |  |  |  | Logged
9 | 2025-09-17 14:48 | Logged
10 | 2025-09-17 14:48 |  | Logged |  | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068748
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/16 14:52:30 CEST
Deployment Info
|  | Name | 22068748
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 4
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/16 14:52:30 CEST
|  | Logging Interval | 0 hour 1 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2025/09/17 07:00:00 CEST
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 469
|  | Max | 27.87
|  | Min | 24.15
|  | Avg | 25.89
|  | Std Dev | 1.18
|  | First Sample Time | 2025/09/17 07:00:00 CEST
|  | Last Sample Time | 2025/09/17 14:48:00 CEST
Series : Millivolts , mv
Series Statistics
|  | Samples | 469
|  | Max | -25.27
|  | Min | -75.71
|  | Avg | -63.23
|  | Std Dev | 6.78
|  | First Sample Time | 2025/09/17 07:00:00 CEST
|  | Last Sample Time | 2025/09/17 14:48:00 CEST
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 469
|  | Max | 8.14
|  | Min | 7.30
|  | Avg | 7.94
|  | Std Dev | .11
|  | First Sample Time | 2025/09/17 07:00:00 CEST
|  | Last Sample Time | 2025/09/17 14:48:00 CEST
Calibrations
Calibration#1
|  | Slope | 100.47 %
|  | Offset | -7.437 mV
|  | Calibration Point {0} | -7.437727 26.01 pH @7
|  | Calibration Point {0} | -185.78693 25.99 pH @9.99
|  | Date | 2025/09/15 18:16:43 CEST