## Data
# | Date-Time (CEST) | Temperature , °C | Millivolts , mv | pH , pH
56 | 2025-04-23 14:35 | 22.61 | -81.5494 | 8.2222
57 | 2025-04-23 14:40 | 19.84 | -86.8933 | 8.3282
58 | 2025-04-23 14:45 | 18.3 | -89.534 | 8.3821
59 | 2025-04-23 14:50 | 17.49 | -90.7996 | 8.4085
60 | 2025-04-23 14:55 | 17.01 | -91.5965 | 8.4251
61 | 2025-04-23 15:00 | 16.72 | -92.1122 | 8.4357
62 | 2025-04-23 15:05 | 16.56 | -92.4091 | 8.4418
63 | 2025-04-23 15:10 | 17.32 | -91.6747 | 8.4249
64 | 2025-04-23 15:15 | 17.75 | -91.2528 | 8.4153
65 | 2025-04-23 15:20 | 17.94 | -90.8621 | 8.4075
66 | 2025-04-23 15:25 | 19.06 | -89.4246 | 8.3766
67 | 2025-04-23 15:30 | 19.51 | -88.784 | 8.3631
68 | 2025-04-23 15:35 | 19.75 | -88.534 | 8.3576

## Events
# | Date-Time (CEST) | Host Connected | End of File | Started | Button Up | Button Down
1 | 2025-04-23 10:00 |  |  | Logged
2 | 2025-04-23 14:13 |  |  |  |  | Logged
3 | 2025-04-23 14:13 |  |  |  | Logged
4 | 2025-04-23 14:13 | Logged
5 | 2025-04-23 14:26 | Logged
6 | 2025-04-23 14:38 |  |  |  |  | Logged
7 | 2025-04-23 14:38 |  |  |  | Logged
8 | 2025-04-23 14:44 | Logged |  |  |  | Logged
9 | 2025-04-23 14:44 |  |  |  | Logged
10 | 2025-04-23 15:00 |  |  |  | Logged | Logged
11 | 2025-04-23 15:11 |  |  |  | Logged | Logged
12 | 2025-04-23 15:15 |  |  |  |  | Logged
13 | 2025-04-23 15:15 |  |  |  | Logged
14 | 2025-04-23 15:15 | Logged
15 | 2025-04-23 15:25 |  |  |  |  | Logged
16 | 2025-04-23 15:25 |  |  |  | Logged
17 | 2025-04-23 15:29 |  |  |  | Logged | Logged
18 | 2025-04-23 15:36 |  |  |  | Logged | Logged
19 | 2025-04-23 15:37 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.4.0.1721
Device Info
|  | Product | MX2501
|  | Serial Number | 22068744
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/04/22 16:45:24 CEST
Deployment Info
|  | Name | 22068744
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 1
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/04/22 16:45:24 CEST
|  | Logging Interval | 0 hour 5 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2025/04/23 10:00:00 CEST
|  | Stop Logging | Stop When Memory Fills
|  | Pause Options | None selected
|  | Audible Alarms | Off
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 68
|  | Max | 25.11
|  | Min | 16.56
|  | Avg | 22.77
|  | Std Dev | 2.26
|  | First Sample Time | 2025/04/23 10:00:00 CEST
|  | Last Sample Time | 2025/04/23 15:35:00 CEST
Series : Millivolts , mv
Series Statistics
|  | Samples | 68
|  | Max | 176.71
|  | Min | -92.41
|  | Avg | 125.33
|  | Std Dev | 105.30
|  | First Sample Time | 2025/04/23 10:00:00 CEST
|  | Last Sample Time | 2025/04/23 15:35:00 CEST
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 68
|  | Max | 8.44
|  | Min | 3.71
|  | Avg | 4.62
|  | Std Dev | 1.85
|  | First Sample Time | 2025/04/23 10:00:00 CEST
|  | Last Sample Time | 2025/04/23 15:35:00 CEST
Calibrations
Calibration#1
|  | Slope | 97.34 %
|  | Offset | -11.719 mV
|  | Calibration Point {0} | 160.19238 24.34 pH @4.01
|  | Calibration Point {0} | -11.719108 24.58 pH @7
|  | Date | 2025/04/22 16:30:18 CEST