## Data
# | Date-Time (CEST) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 14:32 | 8.3502 | 26.52 | -88.1121
2 | 2025-09-16 14:33 | 8.2986 | 26.79 | -85.0963
3 | 2025-09-16 14:34 | 8.2989 | 26.77 | -85.112
4 | 2025-09-16 14:35 | 8.3071 | 26.52 | -85.5339
5 | 2025-09-16 14:36 | 8.3164 | 26.23 | -86.0183
6 | 2025-09-16 14:37 | 8.3255 | 25.89 | -86.4714
7 | 2025-09-16 14:38 | 8.3342 | 25.53 | -86.8933
8 | 2025-09-16 14:39 | 8.3428 | 25.19 | -87.3152
9 | 2025-09-16 14:40 | 8.3511 | 24.82 | -87.7058
10 | 2025-09-16 14:41 | 8.3592 | 24.48 | -88.0964
11 | 2025-09-16 14:42 | 8.367 | 24.15 | -88.4714
12 | 2025-09-16 14:43 | 8.3749 | 23.81 | -88.8465
13 | 2025-09-16 14:44 | 8.3826 | 23.47 | -89.2058
14 | 2025-09-16 14:45 | 8.3906 | 23.16 | -89.5965
15 | 2025-09-16 14:46 | 8.3975 | 22.82 | -89.909
16 | 2025-09-16 14:47 | 8.4083 | 22.51 | -90.4559
17 | 2025-09-16 14:48 | 8.4108 | 22.25 | -90.534
18 | 2025-09-16 14:49 | 8.4151 | 22.3 | -90.7996
19 | 2025-09-16 14:50 | 8.3846 | 22.42 | -89.034

## Events
# | Date-Time (CEST) | Host Connected | End of File | Started | Button Up | Button Down
1 | 2025-09-16 14:32 |  |  | Logged
2 | 2025-09-16 14:50 |  |  |  |  | Logged
3 | 2025-09-16 14:50 |  |  |  | Logged
4 | 2025-09-16 14:50 | Logged
5 | 2025-09-16 14:50 |  | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068748
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/16 14:32:12 CEST
Deployment Info
|  | Name | 22068748
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 3
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/16 14:32:12 CEST
|  | Logging Interval | 0 hour 1 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 19
|  | Max | 26.79
|  | Min | 22.25
|  | Avg | 24.51
|  | Std Dev | 1.66
|  | First Sample Time | 2025/09/16 14:32:14 CEST
|  | Last Sample Time | 2025/09/16 14:50:14 CEST
Series : Millivolts , mv
Series Statistics
|  | Samples | 19
|  | Max | -85.10
|  | Min | -90.80
|  | Avg | -88.06
|  | Std Dev | 1.84
|  | First Sample Time | 2025/09/16 14:32:14 CEST
|  | Last Sample Time | 2025/09/16 14:50:14 CEST
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 19
|  | Max | 8.42
|  | Min | 8.30
|  | Avg | 8.36
|  | Std Dev | .04
|  | First Sample Time | 2025/09/16 14:32:14 CEST
|  | Last Sample Time | 2025/09/16 14:50:14 CEST
Calibrations
Calibration#1
|  | Slope | 100.47 %
|  | Offset | -7.437 mV
|  | Calibration Point {0} | -7.437727 26.01 pH @7
|  | Calibration Point {0} | -185.78693 25.99 pH @9.99
|  | Date | 2025/09/15 18:16:43 CEST