## Data
# | Date-Time (CEST) | pH , pH | Temperature , °C | Millivolts , mv
2 | 2025-09-16 17:15 | 8.1417 | 25.72 | -92.2841
3 | 2025-09-16 17:16 | 8.1354 | 25.5 | -91.8622
4 | 2025-09-16 17:17 | 8.1404 | 25.02 | -92.0497
5 | 2025-09-16 17:18 | 8.1491 | 24.44 | -92.4247
6 | 2025-09-16 17:19 | 8.1592 | 23.83 | -92.8778
7 | 2025-09-16 17:20 | 8.1698 | 23.26 | -93.3622
8 | 2025-09-16 17:21 | 8.1815 | 22.7 | -93.9091
9 | 2025-09-16 17:22 | 8.1938 | 22.2 | -94.5029
10 | 2025-09-16 17:23 | 8.2068 | 21.72 | -95.1435
11 | 2025-09-16 17:24 | 8.2193 | 21.25 | -95.7529
12 | 2025-09-16 17:25 | 8.2309 | 20.82 | -96.3154
13 | 2025-09-16 17:26 | 8.2417 | 20.44 | -96.8467
14 | 2025-09-16 17:27 | 8.2521 | 20.06 | -97.3467
15 | 2025-09-16 17:28 | 8.2621 | 19.7 | -97.8311
16 | 2025-09-16 17:29 | 8.2721 | 19.34 | -98.3155
17 | 2025-09-16 17:30 | 8.2864 | 19.01 | -99.0499
18 | 2025-09-16 17:31 | 8.2918 | 18.7 | -99.2843
19 | 2025-09-16 17:32 | 8.2998 | 18.39 | -99.6593
20 | 2025-09-16 17:33 | 8.3077 | 18.1 | -100.0343
21 | 2025-09-16 17:34 | 8.3155 | 17.82 | -100.4093
22 | 2025-09-16 17:35 | 8.3217 | 17.8 | -100.7531
23 | 2025-09-16 17:36 | 8.3243 | 17.82 | -100.9093
24 | 2025-09-16 17:37 | 8.3197 | 18.1 | -100.7218
25 | 2025-09-16 17:38 | 8.3146 | 18.39 | -100.5031
26 | 2025-09-16 17:39 | 8.3082 | 18.6 | -100.1906

## Events
# | Date-Time (CEST) | End of File | Started | Button Up | Button Down
1 | 2025-09-16 17:14 |  | Logged
2 | 2025-09-16 17:40 | Logged |  | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068749
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/16 17:13:58 CEST
Deployment Info
|  | Name | 22068749
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 8
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/16 17:13:58 CEST
|  | Logging Interval | 0 hour 1 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 26
|  | Max | 25.72
|  | Min | 17.80
|  | Avg | 20.93
|  | Std Dev | 2.76
|  | First Sample Time | 2025/09/16 17:14:00 CEST
|  | Last Sample Time | 2025/09/16 17:39:00 CEST
Series : Millivolts , mv
Series Statistics
|  | Samples | 26
|  | Max | -91.86
|  | Min | -100.91
|  | Avg | -96.83
|  | Std Dev | 3.18
|  | First Sample Time | 2025/09/16 17:14:00 CEST
|  | Last Sample Time | 2025/09/16 17:39:00 CEST
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 26
|  | Max | 8.32
|  | Min | 8.14
|  | Avg | 8.24
|  | Std Dev | .07
|  | First Sample Time | 2025/09/16 17:14:00 CEST
|  | Last Sample Time | 2025/09/16 17:39:00 CEST
Calibrations
Calibration#1
|  | Slope | 98.55000000000001 %
|  | Offset | -25.547 mV
|  | Calibration Point {0} | -25.547655 25.74 pH @7
|  | Calibration Point {0} | -200.3655 25.84 pH @9.99
|  | Date | 2025/09/15 18:01:55 CEST