## Data
# | Date-Time (CEST) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 15:35 | 7.3338 | 25.87 | -41.3763
2 | 2025-09-16 15:36 | 8.764 | 25.62 | -119.9724
3 | 2025-09-16 15:37 | 8.1273 | 26.06 | -85.0651
4 | 2025-09-16 15:38 | 8.1276 | 26.13 | -85.0963
5 | 2025-09-16 15:39 | 8.1407 | 25.96 | -85.7839
6 | 2025-09-16 15:40 | 8.1538 | 25.65 | -86.4401
7 | 2025-09-16 15:41 | 8.1686 | 25.28 | -87.1745
8 | 2025-09-16 15:42 | 8.1814 | 24.92 | -87.7996
9 | 2025-09-16 15:43 | 8.195 | 24.53 | -88.4558
10 | 2025-09-16 15:44 | 8.2078 | 24.17 | -89.0808
11 | 2025-09-16 15:45 | 8.2202 | 23.81 | -89.6746
12 | 2025-09-16 15:46 | 8.2317 | 23.45 | -90.2215
13 | 2025-09-16 15:47 | 8.2423 | 23.09 | -90.7215
14 | 2025-09-16 15:48 | 8.2524 | 22.75 | -91.1903
15 | 2025-09-16 15:49 | 8.2618 | 22.42 | -91.6278
16 | 2025-09-16 15:50 | 8.271 | 22.08 | -92.0497
17 | 2025-09-16 15:51 | 8.2794 | 21.75 | -92.4247
18 | 2025-09-16 15:52 | 8.2876 | 21.44 | -92.7997
19 | 2025-09-16 15:53 | 8.295 | 21.15 | -93.1278
20 | 2025-09-16 15:54 | 8.3058 | 20.86 | -93.6435
21 | 2025-09-16 15:55 | 8.3105 | 20.58 | -93.831
22 | 2025-09-16 15:56 | 8.3156 | 20.29 | -94.0341
23 | 2025-09-16 15:57 | 8.3227 | 20.06 | -94.3623
24 | 2025-09-16 15:58 | 8.3287 | 19.82 | -94.6279
25 | 2025-09-16 15:59 | 8.336 | 19.37 | -94.9091

## Events
# | Date-Time (CEST) | Host Connected | End of File | Button Up | Button Down | pH Calibration Values | pH Calibration Buffers
1 | 2025-09-16 15:35 |  |  |  |  | Logged | Logged Logged
2 | 2025-09-16 15:59 |  |  |  | Logged
3 | 2025-09-16 15:59 |  |  | Logged
4 | 2025-09-16 15:59 |  |  | Logged | Logged
5 | 2025-09-16 16:00 |  |  | Logged | Logged
6 | 2025-09-16 16:00 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068746
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/16 15:34:59 CEST
Deployment Info
|  | Name | 22068746
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 16
|  | Never Stop (Overwrites Old Data) Enabled | Yes
|  | Configure Date | 2025/09/16 15:34:59 CEST
|  | Logging Interval | 0 hour 1 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Never Stop (Overwrites Old Data)
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 25
|  | Max | 26.13
|  | Min | 19.37
|  | Avg | 23.08
|  | Std Dev | 2.25
|  | First Sample Time | 2025/09/16 15:35:00 CEST
|  | Last Sample Time | 2025/09/16 15:59:00 CEST
Series : Millivolts , mv
Series Statistics
|  | Samples | 25
|  | Max | -41.38
|  | Min | -119.97
|  | Avg | -89.82
|  | Std Dev | 12.07
|  | First Sample Time | 2025/09/16 15:35:00 CEST
|  | Last Sample Time | 2025/09/16 15:59:00 CEST
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 25
|  | Max | 8.76
|  | Min | 7.33
|  | Avg | 8.23
|  | Std Dev | .22
|  | First Sample Time | 2025/09/16 15:35:00 CEST
|  | Last Sample Time | 2025/09/16 15:59:00 CEST
Calibrations
Calibration#1
|  | Slope | 92.7 %
|  | Offset | -23.016 mV
|  | Calibration Point {0} | 141.5512 25.96 pH @4.01
|  | Calibration Point {0} | -23.016327 26.04 pH @7
|  | Date | 2025/09/15 17:45:56 CEST