## Data
# | Date-Time (CEST) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 15:38 | 7.4813 | 26.04 | -51.9235
2 | 2025-09-16 15:39 | 8.6294 | 25.6 | -119.0661
3 | 2025-09-16 15:40 | 8.0897 | 26.13 | -87.5964
4 | 2025-09-16 15:41 | 8.0919 | 26.18 | -87.7371
5 | 2025-09-16 15:42 | 8.0995 | 26.06 | -88.1589
6 | 2025-09-16 15:43 | 8.1008 | 25.79 | -88.1746
7 | 2025-09-16 15:44 | 8.1111 | 25.45 | -88.7058
8 | 2025-09-16 15:45 | 8.122 | 25.11 | -89.2683
9 | 2025-09-16 15:46 | 8.1327 | 24.75 | -89.8152
10 | 2025-09-16 15:47 | 8.1432 | 24.39 | -90.3465
11 | 2025-09-16 15:48 | 8.1532 | 24.03 | -90.8465
12 | 2025-09-16 15:49 | 8.1629 | 23.69 | -91.3309
13 | 2025-09-16 15:50 | 8.1721 | 23.33 | -91.7841
14 | 2025-09-16 15:51 | 8.181 | 22.99 | -92.2216
15 | 2025-09-16 15:52 | 8.1892 | 22.68 | -92.6278
16 | 2025-09-16 15:53 | 8.2003 | 22.35 | -93.1903
17 | 2025-09-16 15:54 | 8.2053 | 22.03 | -93.4091
18 | 2025-09-16 15:55 | 8.2119 | 21.75 | -93.7216
19 | 2025-09-16 15:56 | 8.2191 | 21.44 | -94.0654

## Events
# | Date-Time (CEST) | Host Connected | End of File | Button Up | Button Down | pH Calibration Values | pH Calibration Buffers
1 | 2025-09-16 15:38 |  |  |  |  | Logged | Logged Logged
2 | 2025-09-16 15:56 |  |  | Logged | Logged
3 | 2025-09-16 15:56 |  |  |  | Logged
4 | 2025-09-16 15:56 |  |  | Logged
5 | 2025-09-16 15:56 |  |  |  | Logged
6 | 2025-09-16 15:56 |  |  | Logged
7 | 2025-09-16 15:56 |  |  |  | Logged
8 | 2025-09-16 15:56 |  |  | Logged
9 | 2025-09-16 15:56 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068747
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/16 15:37:50 CEST
Deployment Info
|  | Name | 22068747
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 15
|  | Never Stop (Overwrites Old Data) Enabled | Yes
|  | Configure Date | 2025/09/16 15:37:50 CEST
|  | Logging Interval | 0 hour 1 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Save
|  | Stop Logging | Never Stop (Overwrites Old Data)
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 19
|  | Max | 26.18
|  | Min | 21.44
|  | Avg | 24.20
|  | Std Dev | 1.64
|  | First Sample Time | 2025/09/16 15:37:51 CEST
|  | Last Sample Time | 2025/09/16 15:55:51 CEST
Series : Millivolts , mv
Series Statistics
|  | Samples | 19
|  | Max | -51.92
|  | Min | -119.07
|  | Avg | -90.21
|  | Std Dev | 11.51
|  | First Sample Time | 2025/09/16 15:37:51 CEST
|  | Last Sample Time | 2025/09/16 15:55:51 CEST
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 19
|  | Max | 8.63
|  | Min | 7.48
|  | Avg | 8.14
|  | Std Dev | .20
|  | First Sample Time | 2025/09/16 15:37:51 CEST
|  | Last Sample Time | 2025/09/16 15:55:51 CEST
Calibrations
Calibration#1
|  | Slope | 98.7 %
|  | Offset | -23.719 mV
|  | Calibration Point {0} | -23.719475 25.7 pH @7
|  | Calibration Point {0} | -198.75607 25.7 pH @9.99
|  | Date | 2025/09/15 17:57:35 CEST