## Data
# | Date-Time (UTC Standard Time) | pH , pH | Temperature , °C | Millivolts , mv
1 | 2025-09-16 07:00 | 3.9043 | 24.7 | 154.786
2 | 2025-09-16 07:05 | 3.8941 | 24.73 | 155.3954
3 | 2025-09-16 07:10 | 3.8959 | 24.8 | 155.3329
4 | 2025-09-16 07:15 | 7.7175 | 25.84 | -67.5021
5 | 2025-09-16 07:20 | 7.7703 | 25.89 | -70.5959
6 | 2025-09-16 07:25 | 7.4918 | 25.96 | -54.3142
7 | 2025-09-16 07:30 | 7.2065 | 26.01 | -37.6261
8 | 2025-09-16 07:35 | 7.1682 | 26.04 | -35.3917
9 | 2025-09-16 07:40 | 7.0718 | 26.04 | -29.7509
10 | 2025-09-16 07:45 | 7.1362 | 26.04 | -33.5166
11 | 2025-09-16 07:50 | 7.1714 | 26.06 | -35.5792
12 | 2025-09-16 07:55 | 7.125 | 26.06 | -32.8604
13 | 2025-09-16 08:00 | 7.1234 | 26.06 | -32.7666
14 | 2025-09-16 08:05 | 7.1877 | 26.06 | -36.5324
15 | 2025-09-16 08:10 | 7.1538 | 26.06 | -34.5479
16 | 2025-09-16 08:15 | 7.0889 | 26.06 | -30.7509
17 | 2025-09-16 08:20 | 7.0876 | 26.06 | -30.6728
18 | 2025-09-16 08:25 | 7.078 | 26.06 | -30.1103
19 | 2025-09-16 08:30 | 7.0315 | 26.06 | -27.3915
20 | 2025-09-16 08:35 | 7.0243 | 26.06 | -26.9696
21 | 2025-09-16 08:40 | 6.9538 | 26.06 | -22.8444
22 | 2025-09-16 08:45 | 6.917 | 26.06 | -20.6881
23 | 2025-09-16 08:50 | 6.9554 | 26.08 | -22.9382
24 | 2025-09-16 08:55 | 7.007 | 26.08 | -25.9539
25 | 2025-09-16 09:00 | 6.6289 | 26.06 | -3.8282
26 | 2025-09-16 09:05 | 6.5816 | 26.06 | -1.0625
27 | 2025-09-16 09:10 | 6.3401 | 26.01 | 13.0629
28 | 2025-09-16 09:15 | 7.7431 | 26.08 | -69.0334
29 | 2025-09-16 09:20 | 7.7181 | 26.13 | -67.5802
30 | 2025-09-16 09:25 | 7.7165 | 26.13 | -67.4864
31 | 2025-09-16 09:30 | 7.7026 | 26.13 | -66.6739
32 | 2025-09-16 09:35 | 7.697 | 26.04 | -66.3301
33 | 2025-09-16 09:40 | 7.6967 | 25.94 | -66.2989
34 | 2025-09-16 09:45 | 7.6975 | 25.94 | -66.3458
35 | 2025-09-16 09:50 | 7.6841 | 25.94 | -65.5645
36 | 2025-09-16 09:55 | 7.6721 | 25.94 | -64.8614
37 | 2025-09-16 10:00 | 7.675 | 25.94 | -65.0332
38 | 2025-09-16 10:05 | 7.6675 | 25.96 | -64.5957
39 | 2025-09-16 10:10 | 7.6654 | 25.96 | -64.4707
40 | 2025-09-16 10:15 | 7.6702 | 25.96 | -64.752
41 | 2025-09-16 10:20 | 7.661 | 25.99 | -64.2207
42 | 2025-09-16 10:25 | 7.6554 | 25.99 | -63.8926
43 | 2025-09-16 10:30 | 7.6549 | 26.01 | -63.8613
44 | 2025-09-16 10:35 | 7.6388 | 26.04 | -62.9238
45 | 2025-09-16 10:40 | 7.6289 | 26.04 | -62.3457
46 | 2025-09-16 10:45 | 7.6259 | 26.06 | -62.1738
47 | 2025-09-16 10:50 | 7.6114 | 26.08 | -61.33
48 | 2025-09-16 10:55 | 7.6042 | 26.11 | -60.9081
49 | 2025-09-16 11:00 | 7.6036 | 26.13 | -60.8769
50 | 2025-09-16 11:05 | 7.5899 | 26.16 | -60.08
51 | 2025-09-16 11:10 | 7.5821 | 26.18 | -59.6268
52 | 2025-09-16 11:15 | 7.5813 | 26.21 | -59.5799
53 | 2025-09-16 11:20 | 7.5676 | 26.23 | -58.783
54 | 2025-09-16 11:25 | 7.5606 | 26.26 | -58.3768
55 | 2025-09-16 11:30 | 7.5611 | 26.28 | -58.408
56 | 2025-09-16 11:35 | 7.5494 | 26.3 | -57.7205
57 | 2025-09-16 11:40 | 7.5479 | 26.35 | -57.6424
58 | 2025-09-16 11:45 | 7.5529 | 26.38 | -57.9393
59 | 2025-09-16 11:50 | 7.5636 | 26.4 | -58.5643
60 | 2025-09-16 11:55 | 7.5598 | 26.45 | -58.3455
61 | 2025-09-16 12:00 | 7.5619 | 26.45 | -58.4705
62 | 2025-09-16 12:05 | 7.5512 | 26.45 | -57.8455
63 | 2025-09-16 12:10 | 7.5443 | 26.45 | -57.4393
64 | 2025-09-16 12:15 | 7.5435 | 26.43 | -57.3924
65 | 2025-09-16 12:20 | 7.5289 | 26.4 | -56.533
66 | 2025-09-16 12:25 | 7.5231 | 26.38 | -56.1892
67 | 2025-09-16 12:30 | 7.5245 | 26.35 | -56.2673
68 | 2025-09-16 12:35 | 7.5141 | 26.33 | -55.6579
69 | 2025-09-16 12:40 | 7.5114 | 26.33 | -55.5017
70 | 2025-09-16 12:45 | 7.5168 | 26.3 | -55.8142
71 | 2025-09-16 12:50 | 7.5094 | 26.28 | -55.3767
72 | 2025-09-16 12:55 | 7.5084 | 26.23 | -55.3142
73 | 2025-09-16 13:00 | 7.5303 | 26.21 | -56.5955
74 | 2025-09-16 13:05 | 7.5322 | 26.18 | -56.7049
75 | 2025-09-16 13:10 | 7.5387 | 26.13 | -57.0799
76 | 2025-09-16 13:15 | 7.5548 | 26.08 | -58.0174
77 | 2025-09-16 13:20 | 7.5571 | 26.01 | -58.1424
78 | 2025-09-16 13:25 | 7.5612 | 25.96 | -58.3768
79 | 2025-09-16 13:30 | 7.5669 | 25.91 | -58.7049
80 | 2025-09-16 13:35 | 7.555 | 25.84 | -58.0018
81 | 2025-09-16 13:40 | 7.5474 | 25.77 | -57.5486
82 | 2025-09-16 13:45 | 7.5544 | 25.74 | -57.9549
83 | 2025-09-16 13:50 | 7.5467 | 25.7 | -57.5018
84 | 2025-09-16 13:55 | 7.5462 | 25.67 | -57.4705
85 | 2025-09-16 14:00 | 7.5543 | 25.65 | -57.9393
86 | 2025-09-16 14:05 | 7.5474 | 25.62 | -57.533
87 | 2025-09-16 14:10 | 7.5427 | 25.57 | -57.2517
88 | 2025-09-16 14:15 | 7.5491 | 25.57 | -57.6268
89 | 2025-09-16 14:20 | 7.5349 | 25.57 | -56.7986
90 | 2025-09-16 14:25 | 7.5243 | 25.55 | -56.1736
91 | 2025-09-16 14:30 | 7.5294 | 25.53 | -56.4705
92 | 2025-09-16 14:35 | 7.5145 | 25.5 | -55.5954
93 | 2025-09-16 14:40 | 7.5185 | 25.48 | -55.8298
94 | 2025-09-16 14:45 | 7.5319 | 25.45 | -56.6111
95 | 2025-09-16 14:50 | 7.525 | 25.45 | -56.2048
96 | 2025-09-16 14:55 | 7.5242 | 25.43 | -56.158
97 | 2025-09-16 15:00 | 7.5299 | 25.4 | -56.4861
98 | 2025-09-16 15:05 | 7.5197 | 25.4 | -55.8923

## Events
# | Date-Time (UTC Standard Time) | Host Connected | End of File | Started | Button Up | Button Down
1 | 2025-09-16 07:00 |  |  | Logged
2 | 2025-09-16 15:09 |  |  |  |  | Logged
3 | 2025-09-16 15:09 |  |  |  | Logged
4 | 2025-09-16 15:09 |  |  |  |  | Logged
5 | 2025-09-16 15:09 |  |  |  | Logged
6 | 2025-09-16 15:09 | Logged | Logged

## Details
Details
Devices
App Info
|  | App Name | HOBOconnect
|  | Version | 2.6.0.1793
Device Info
|  | Product | MX2501
|  | Serial Number | 22068749
|  | Firmware Version | 38.140
|  | Manufacturer | Onset Computer Corporation
|  | Device Memory | 155648
|  | Header Created | 2025/09/15 16:25:34 UTC Standard Time
Deployment Info
|  | Name | 22068749
|  | Location | Off
|  | Group Name | NA
|  | Deployment Number | 7
|  | Never Stop (Overwrites Old Data) Enabled | No
|  | Configure Date | 2025/09/15 16:25:34 UTC Standard Time
|  | Logging Interval | 0 hour 5 minutes 0 seconds
|  | Logging Mode | Fixed - Normal
|  | Start Logging | On Date/Time 2025/09/16 07:00:00 UTC Standard Time
|  | Stop Logging | Stop When Memory Fills
|  | Show Visual Alarms Until | Sensors In Limits
|  | Show LED | On
|  | Bluetooth Always On | Off
|  | Upload Data Via | HOBOconnect
Series : Temperature , °C
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 98
|  | Max | 26.45
|  | Min | 24.70
|  | Avg | 25.98
|  | Std Dev | .34
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:05:00 UTC Standard Time
Series : Millivolts , mv
Series Statistics
|  | Samples | 98
|  | Max | 155.40
|  | Min | -70.60
|  | Avg | -45.86
|  | Std Dev | 39.15
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:05:00 UTC Standard Time
Series : pH , pH
Alarm Settings
|  | High Alarm Value | Not Configured
|  | Low Alarm Value | Not Configured
Series Statistics
|  | Samples | 98
|  | Max | 7.77
|  | Min | 3.89
|  | Avg | 7.35
|  | Std Dev | .67
|  | First Sample Time | 2025/09/16 07:00:00 UTC Standard Time
|  | Last Sample Time | 2025/09/16 15:05:00 UTC Standard Time
Calibrations
Calibration#1
|  | Slope | 98.55000000000001 %
|  | Offset | -25.547 mV
|  | Calibration Point {0} | -25.547655 25.74 pH @7
|  | Calibration Point {0} | -200.3655 25.84 pH @9.99
|  | Date | 2025/09/15 16:01:55 UTC Standard Time